# BBM-STD-12 · Basis of Design Report · V0.3

Linked copies: ID STD-12 · TBP page · BABOOM edition · ArchHub: BABOOM companion

Office BIM Standard | 5 November 2026 | Private office template and method | Owner: Lead Design Consultant | Information custodian: BIM Manager

Status: WIP template for project population. No live project, permit, engineering value or approval is asserted by this master.

## Revision history

| Version | Date | Change |
| --- | --- | --- |
| V0.1 | 2026-10-16 | First office template |
| V0.3 | 2026-11-05 | Standard watch no. 1 (RES-017): new C2 row AP-070 Building Quality and Safety Certificate and reference R42 (DM circular 11-9-1 of 2026) (O-DEC-185); G5 and R33 cite the circular and the gazette dates (O-DEC-156); A3 names the circular |
| V0.2 | 2026-11-04 | Closes audit res-026 rows G115–G134: Dubai BIM permit submission (AP-058, new AP-069, R34), Abu Dhabi code edition rule (R02), DBC amendment and Dubai Law 3/​2026 (R17, R33), ADM BIM sources (R35), Dubai accessibility split (R41), CRS defaults (CI-01, A2, IM-04), Estidama/​Al Sa'fat minima (SU-01), MEP source scoping, code adoption via BBM-STD-51 §3 (O-DEC-111), status mapping (O-DEC-110), gate families (O-DEC-109), SIRA/​security, UAE FLS publisher, BIM sources per IM row (R36–R40), links to current versions, guide links, research-lane IDs removed, synthetic AHU value aligned to 600 mm, ApprovalID note + cross-doc pointer pass (BBM-STD-51 §3 ED-IDs in A3, source cells and References; pointers to BBM-STD-85/​86/​88/​89/​93; status list per O-DEC-140) + template alignment (O-DEC-142..148) + guide 25 link moved to V0.3 (folder tree pointer, O-DEC-149) |

# Control, purpose and method

The Basis of Design (BoD) translates the client brief and Owner's Project Requirements (OPR) into measurable, coordinated design requirements. It records site conditions, option selection, assumptions, statutory approvals and the evidence needed for stage release. It does not replace calculations, specifications, the appointment, the BEP or actual permits.

1.  Lead consultant completes Part A: scope, jurisdiction, brief, site and code-adoption baseline.

2.  Competent discipline leads populate Part B: target/unit/comparison, verified source and clause, method, stage and owner. Independent checkers review the design and evidence.

3.  Authority coordinator screens every Part C row, adds site/use-specific submissions, confirms the current authority/service/checklist and planned review allowance.

4.  Lead consultant closes interfaces, options, assumptions and departures in Part D; LAP and task teams propagate one ChangeID to MIDP/TIDPs.

5.  Part E measures the exact stage/revision, checks actual authority conditions and records separate technical, client and statutory decisions before release.

The companion BBM-STD-12-APPROVALS-REGISTER-V0.1.xlsx (form; filename unchanged) contains every master approval and criterion, with separate criterion-stage evidence rows. This markdown is the office-template baseline; the populated project workbook is the single working tracker. Record the project BoD/workbook revisions together. After changing master B/C rows, regenerate/reconcile the workbook before release: the files do not synchronise automatically.

Decision (BIM Manager, 2026-10-14): Lead Design Consultant owns the integrated BoD; competent discipline leads own technical criteria; authority coordinator maintains external submissions; BIM Manager controls information records. Basis: appointment functions in ISO 19650-1/-2:2018 [R23] and office Directory/BEP (O-DEC-125). Actual role holders/delegation must be recorded in the project.

Decision (BIM Manager, 2026-10-14): No applicable mandatory criterion or approval prerequisite may be averaged away. Release requires current independent evidence and valid permissions/closed conditions for the exact next activity. Basis: office decision O-DEC-003; ISO 19650-4:2022 [R28] provides the exchange review context.

## Document control and responsibilities

| Record | Project entry and acceptance |
| --- | --- |
| Project /​ client /​ site | [ProjectID, client, plot, emirate, building/​zone and restricted distribution] |
| Report /​ workbook | [ContainerIDs, project Rnn revisions, template V0.2, issue date and CDE URIs] |
| Appointment /​ responsibility | [AppointmentIDs, scope, delegated design, exclusions, competent leads, deputy and reliance rights] |
| Prepared /​ checked /​ approved /​ released | [Distinct role-holder IDs, dates, signature/​decision evidence and exact revisions] |
| Review trigger | Every stage exchange and material brief, code, survey, occupancy, design, supplier, approval or programme change |
| Revision /​ change /​ distribution | [Previous/​current baseline, ChangeID, recipients, permitted use and acknowledgements] |

## Existing office authority and practice

•  Manual V0.5, BEP V0.5, OIR V0.3, Directory V0.3, Glossary V0.3 and office decisions V0.2 retain their existing authority. Codes and gate/status vocabularies are in the one code dictionary BBM-STD-93; UAE authority and submission detail is in BBM-STD-85.

•  Reuse O-DEC-001–007 and the single Clash Matrix V0.3 sections 2–3 O3-POL-01 naming/revision/suitability and evidence-based coordination rules. Default identity is CLIENT-ORG-PROJ-VOLUME-LEVEL-TYPE-ROLE-NUMBER.ext (O-DEC-102); Rnn is per-container revision metadata (O-DEC-113). One authorised appointment mapping takes precedence. Do not introduce another tolerance table.

•  SU-WIP / SU-COORD / SU-INFO / SU-REVIEW / SU-ISSUE express permitted use. Office CDE states WIP / Shared / Published / Archive are separate from workspace lifecycle folders, actual client acceptance and statutory approval.

•  MIDP V0.3 coordinates delivery commitments; TIDP V0.3 controls task-team production. Reuse their L1/L2/L3, correction, authorisation and client acceptance windows. Office planning allowances are not authority review timelines.

•  Guides BBM-STD-25 Guide V0.3 (initiation), BBM-STD-30 Guide V0.2 (coordinates), BBM-STD-32 Guide V0.2 (areas), BBM-STD-34 Guide V0.2 (stairs/ramps) and BBM-STD-36 Guide V0.2 (schedules) inform practical checks; they are training guides outside the controlled standard set. Correct model geometry, a schedule or a clash-free route does not alone prove code compliance.

# Part A · Project definition

## A1 · Client brief and project requirements

| Record | Required project entry | Evidence /​ owner |
| --- | --- | --- |
| Brief /​ OPR | [Approved IDs/​revisions; purpose, functional outcomes, quality, cost/​programme limits] | Client/​lead consultant reconcile conflicts |
| OIR /​ PIR /​ AIR /​ EIR | [Office/​client organisational decisions, project decisions, operational needs and appointment exchanges; RequirementIDs/​revisions] | Office OIR is not client EIR. EIR means Exchange Information Requirements; OPR is separate |
| Project type and occupancy | [New/​existing/​alteration/​fit-out, use by floor, mixed-use, occupant population, hours and hazards] | Architect, fire engineer and operator |
| Design responsibilities | [Buildings/​zones, disciplines, specialist/​delegated design, scope exclusions and interface owners] | Appointment and detailed responsibility matrix |
| Cost, procurement and options | [Capex/​opex basis/​date, contingency, whole-life boundary, procurement and package strategy] | Client and cost consultant |
| Phasing and occupation | [Phase boundaries, temporary services/​routes, separable permits and partial occupation] | Lead/​fire/​contractor plus actual authority consent |
| Stages and milestones | [RIBA stage by package, ExchangeID, DeliveryID, decision/​issue dates] | Approved programme and MIDP; stage is not a permit |
| Operation and acceptance | [FM representative, working life, maintenance, AIR, commissioning and POE plan] | Client/​asset owner and competent leads |

RIBA Plan of Work 2020 [R25]: 0 Strategic Definition; 1 Preparation and Briefing; 2 Concept Design; 3 Spatial Coordination; 4 Technical Design; 5 Manufacturing and Construction; 6 Handover; 7 Use. Stages 4/5 can overlap by package. Keep actual authority and procurement dependencies separate from this stage context.

## A2 · Site data and measurement conventions

| Input | Project value /​ units | Controlled source and check |
| --- | --- | --- |
| Plot /​ affection plan | [PlotID, land area m2, boundaries, title/​lease/​easements] | Authenticated current plot/​affection plan and survey |
| Planning envelope | [Use, FAR, GFA/​BUA limits, coverage %, setbacks m, height/​datum m, storeys] | Written planning/​master-developer conditions and exceptions |
| Area basis | [Authority GFA; client BUA, net/​usable definitions; exclusions/​voids] | Signed measurement rule; reconcile each floor with model/​schedules |
| Parking/​loading | [Ratios by use; total/​accessible/​EV/​cycle/​loading counts and geometry] | Actual adopted ratios and traffic/​access approval |
| Coordinates/​terrain | [CRS with EPSG code and transformation, horizontal/​vertical datum, units, benchmark and uncertainty. Dubai default: DLTM, EPSG:3997 "WGS 84 /​ Dubai Local TM", vertical datum DMD (Dubai Municipality Datum = Port Rashid datum, no EPSG code). Abu Dhabi: the CRS stated in the ADM/​DMT survey and CAD/​BIM submission guideline for the plot; vertical datum Ras Ghumays (EPSG datum 1146)] | Surveyor evidence, ≥3 well-distributed control points plus elevation/​unit probes (O-DEC-106) and independent alignment/​export test; register in BBM-STD-86 and BEP §8.2 |
| Ground/​groundwater | [Report revision, investigation coverage, bearing/​settlement and groundwater m datum] | Geotechnical interpretation and structural adoption |
| Climate/​exposure/​flood | [Station/​year, statistical weather basis, wind/​seismic basis, flood event/​datum, corrosion] | Controlled datasets and adopted design/​authority source |
| Utilities/​protected assets | [Capacity, connection points/​inverts, easements, asset locations and verification confidence] | Operator records/​NOCs and justified field verification |
| Environment/​heritage/​neighbours | [Ecology, contamination, heritage, noise receptors and adjoining structures] | Screening, baseline surveys and consent conditions |

## A3 · Code adoption and jurisdiction

Decision (BIM Manager, 2026-10-14): Freeze project code applicability, exact editions/amendments, transition dates, jurisdiction and verified clauses before technical reliance. The newest publication is not automatically the adopted code. Basis: official AD/Dubai publications [R02, R03, R17, R18] (O-DEC-126).

Code adoption is recorded once, in the edition and adoption register of BBM-STD-51 §3 (O-DEC-111): instrument ID, instrument, edition, date, URL and source-check date. The project applicability and clause record for each instrument is kept in the BBM-STD-57 Codes table under the same ID. Each Part B criterion cites that register ID (ED-…, e.g. ED-DBC, ED-ADIBC, ED-UAE-FLS) in its source cell, and the References table below gives the ED-ID for every BoD reference; this BoD keeps no separate code list. UAE requirement detail (Dubai BIM permit profile, DBC, Law 3/2026 and its circular 11-9-1, fire code, Abu Dhabi codes, green-building minimums) is owned by BBM-STD-85. The former AdoptionID CODE-nnn is retired; any issued CODE-nnn maps once to its register ID.

Obtain the applicable discipline volumes and referenced-standard editions, including structural loads/materials and MEP standards. No clause number is inferred from a catalogue abstract. Accessibility sources are split by emirate: Abu Dhabi uses R04; Dubai uses the accessibility provisions of the DBC [R17] and any Dubai accessibility code named by the competent authority [R41], edition checked at project start and recorded in the BBM-STD-51 §3 register. If requirements conflict, record both and obtain competent contractual/statutory/design resolution under the appointment hierarchy; do not cherry-pick a value. Client targets may exceed legal minima but cannot waive law; split them into linked criteria where checks differ.

# Part B · Measurable design criteria

## B0 · How to populate and verify

Each master criterion below requires project target, units/category, comparison (minimum/maximum/range/exact/category), scope/location, verified code adoption/clause, actual result, uncertainty/tolerance where relevant, checker and exact evidence revision. Split different uses/zones into separately identified rows. No universal engineering number, climatic condition, parking ratio, travel limit or clearance is imposed here.

RIBA 0–7 are RIBA Plan of Work 2020 stages (not issue severities S1–S3). Reconfirm every listed stage: RIBA 2/3 coordinated predictions/calculations; RIBA 4 frozen technical design/specifications; RIBA 5 approved products/installations/inspection; RIBA 6 witnessed commissioning/as-built/acceptance; RIBA 7 measured use and agreed performance review. RIBA 1 information criteria define the requirements baseline. A design prediction cannot pass an installation test. N/A requires a separate approved basis for each criterion-stage.

## B1 · Architecture

| CriterionID | Criterion | Requirement | Project value /​ unit | Source code & clause | Verification method | Stages | Owner |
| --- | --- | --- | --- | --- | --- | --- | --- |
| AR-01 | Land use and occupancy | Confirm permitted use and population by floor | [use class; persons/​floor] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Reconcile plot controls, brief and occupancy schedule | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-02 | Plot and setbacks | Keep structures/​projections within approved envelope | [plot m2; setbacks m] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Overlay authenticated affection plan and dimensioned survey/​site plan | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-03 | Height and storeys | Meet datum-specific height and storey limits including roof plant | [m datum; storeys] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Survey-based coordinated sections and aviation constraints | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-04 | FAR and regulated GFA | Apply authority area inclusions/​exclusions and maximum FAR | [FAR ratio; GFA m2] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Reconcile regulated areas floor by floor with signed convention | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-05 | BUA and client areas | Keep BUA, usable/​net areas separate from regulated GFA | [BUA/​NIA m2; efficiency %] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Reconcile brief and room/​area schedules with all exclusions | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-06 | Space standards | Meet room areas, widths, adjacencies and space-per-person basis | [m2/​space; m; persons] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Room schedule and functional adjacency review | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-07 | Clear heights | Meet finished clear heights and headroom including obstructions | [m per space/​route] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Dimensioned coordinated sections including finishes/​services | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-08 | Parking and loading | Meet approved parking, accessible/​EV/​cycle/​loading provision | [ratio; spaces; bay m] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Demand, geometry, swept paths and traffic approval reconciliation | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-09 | Accessible arrival and circulation | Provide continuous accessible routes, entrances, doors and transitions | [width m; slope/​crossfall %; rise mm] | R02 ADIBC and R04 accessibility (AD); R17 /​ ED-DBC DBC accessibility provisions and R41 (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Whole-route dimensioned audit; model limits alone do not prove compliance | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-10 | Accessible facilities and wayfinding | Meet toilet, refuge, tactile, signage and assistance requirements | [facilities; clearance/​reach mm] | R02 ADIBC and R04 accessibility (AD); R17 /​ ED-DBC DBC accessibility provisions and R41 (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | User-journey and competent accessibility review | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-11 | Facade and glazing | Meet heat/​solar, air/​water leakage, safety and maintenance requirements | [U W/​m2K; SHGC; WWR %; leakage unit] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Envelope calculations, certified system details and test plan | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-12 | Acoustics | Meet room/​external noise, separation and reverberation targets | [dB metric; seconds] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Acoustic calculation and specified field tests/​conditions | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-13 | Daylight and glare | Meet selected daylight/​glare method for occupied spaces | [lux/​metric; hours; glare index] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Simulation with frozen climate, use, glazing and shading inputs | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-14 | Vertical transport planning | Meet capacity, waiting/​service and accessibility/​fire requirements | [persons; interval s; kg; m/​s] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Lift traffic analysis and fire/​architecture interface review | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |
| AR-15 | Servicing and fire access | Provide safe loading, fire-vehicle access and equipment replacement routes | [clear/​turning m; kN] | R02 ADIBC edition in force at project start and R04 accessibility (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Swept paths and replacement sequence with structural/​MEP/​fire review | RIBA 2;3;4;5;6;7 | Architect /​ planning lead |

## B2 · Fire and life safety

| CriterionID | Criterion | Requirement | Project value /​ unit | Source code & clause | Verification method | Stages | Owner |
| --- | --- | --- | --- | --- | --- | --- | --- |
| FL-01 | Fire strategy and classification | Classify uses, hazards, mixed occupancy and height category | [use/​hazard class; persons; height m] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Signed fire strategy reconciled to approved occupancy/​plans | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |
| FL-02 | Occupant load | Calculate floor occupants using adopted factors and actual use | [persons; m2/​person] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Checked floor-area/​factor/​operational capacity reconciliation | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |
| FL-03 | Exit number and capacity | Meet exit number, width, remoteness, independence and discharge | [count; clear mm; persons] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Egress calculations including shared stairs and final discharge | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |
| FL-04 | Travel distance and dead ends | Meet actual travel/​common-path/​dead-end limits for adopted conditions | [m per condition] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Measure paths around obstacles with sprinkler/​use assumptions explicit | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |
| FL-05 | Compartmentation | Meet compartment size, separation and opening/​shaft protection | [m2; fire rating minutes] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Fire plans plus rated walls/​doors/​penetration interface schedules | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |
| FL-06 | Structural fire resistance | Meet member/​assembly fire performance for actual use/​height | [minutes; assembly IDs] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Fire/​structural design and approved protection specification | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |
| FL-07 | Facade fire performance | Demonstrate whole-system performance and cavity/​perimeter barriers | [test standard/​class; barrier m] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Civil Defence facade submission and full tested-system scope | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |
| FL-08 | Smoke management | Meet smoke zoning, exhaust/​make-up, pressure and tenability basis | [m3/​s; Pa; time/​tenability] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Smoke calculation/​modelling, controls matrix and integrated test script | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |
| FL-09 | Firefighting water and suppression | Meet hazard-specific coverage, storage, flow, pressure and duration | [L/​min; bar; m3; min] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Hydraulic calculations, pumps/​tanks/​sprinkler/​hydrant approval | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |
| FL-10 | Detection and alarm | Meet detection, zoning, audibility/​visibility and interfaces | [zones/​devices; dB; matrix ID] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Approved layout/​cause-effect and witnessed fail-state tests | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |
| FL-11 | Emergency lighting and power | Maintain escape illumination and life-safety continuity | [lux; min; kVA/​UPS] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Point calculations, load/​autonomy tests and power-failure scenario | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |
| FL-12 | Fire appliance facilities | Provide unobstructed access, hardstanding and required facilities | [width/​turning m; kN; count] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Swept-path/​site review and Civil Defence inspection | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |
| FL-13 | Evacuation and operation | Address refuge, assisted evacuation, phased use and procedures | [refuge persons; scenario IDs] | R03 UAE FLS Code 2018; R30 local Civil Defence; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Fire engineer/​operator review and handover/​drill acceptance | RIBA 2;3;4;5;6;7 | Fire engineer /​ Civil Defence liaison |

## B3 · Structure

| CriterionID | Criterion | Requirement | Project value /​ unit | Source code & clause | Verification method | Stages | Owner |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ST-01 | Code and structural system | Freeze codes, amendments, analysis and robustness basis | [code edition; system; consequence class] | R02 ADIBC edition in force at project start and adopted references (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Signed design-code schedule and independent analysis review | RIBA 2;3;4;5;6;7 | Structural engineer |
| ST-02 | Geotechnical basis | Adopt verified ground, groundwater, bearing and settlement basis | [kPa; mm; groundwater m datum] | R02 ADIBC edition in force at project start and adopted references (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Geotechnical factual/​interpretive reports and designer adoption | RIBA 2;3;4;5;6;7 | Structural engineer |
| ST-03 | Permanent and imposed loads | Schedule use-specific dead/​live/​partition/​plant/​construction actions | [kPa; kN] | R02 ADIBC edition in force at project start and adopted references (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Trace load take-off to occupancy, facade, roof and equipment data | RIBA 2;3;4;5;6;7 | Structural engineer |
| ST-04 | Wind actions | Verify wind speed, exposure, return period and dynamic method | [m/​s; years; exposure; kPa] | R02 ADIBC edition in force at project start and adopted references (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Adopted hazard data and calculations; wind tunnel where required | RIBA 2;3;4;5;6;7 | Structural engineer |
| ST-05 | Seismic actions | Verify hazard, site class, importance, ductility and response basis | [hazard parameters; class; factors] | R02 ADIBC edition in force at project start and adopted references (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Adopted spectrum plus geotechnical/​structural review | RIBA 2;3;4;5;6;7 | Structural engineer |
| ST-06 | Combinations and stability | Check combinations, load path, uplift, overturning and accidental cases | [combination IDs; utilisation] | R02 ADIBC edition in force at project start and adopted references (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Independent model/​input/​units and calculation review | RIBA 2;3;4;5;6;7 | Structural engineer |
| ST-07 | Materials and strengths | Specify concrete, rebar, steel/​connection grades for exposure/​use | [MPa; grades; standard editions] | R02 ADIBC edition in force at project start and adopted references (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Design/​material schedules, specifications and certification/​test plan | RIBA 2;3;4;5;6;7 | Structural engineer |
| ST-08 | Durability and design life | Meet working life, cover, corrosion, exposure and crack requirements | [years; cover/​crack mm; exposure] | R02 ADIBC edition in force at project start and adopted references (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Durability strategy tied to site evidence and maintenance | RIBA 2;3;4;5;6;7 | Structural engineer |
| ST-09 | Serviceability and movement | Control deflection, drift, vibration and differential movement | [mm; ratios; Hz; acceleration] | R02 ADIBC edition in force at project start and adopted references (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Analysis with facade/​partition/​MEP movement interfaces | RIBA 2;3;4;5;6;7 | Structural engineer |
| ST-10 | Temporary works and foundations | Demonstrate excavation, shoring, dewatering and adjacent-asset safety | [depth m; movement mm; triggers] | R02 ADIBC edition in force at project start and adopted references (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Approved sequence/​design, monitoring and relevant permits | RIBA 2;3;4;5;6;7 | Structural engineer |
| ST-11 | Openings and plant supports | Verify openings, fixings, plant reactions and replacement loads | [mm; kN; dynamic factor] | R02 ADIBC edition in force at project start and adopted references (AD); R17 /​ ED-DBC DBC as amended (Dubai); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Opening/​support register and signed design before cutting | RIBA 2;3;4;5;6;7 | Structural engineer |

## B4 · MEP and vertical transport

| CriterionID | Criterion | Requirement | Project value /​ unit | Source code & clause | Verification method | Stages | Owner |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ME-01 | Outdoor HVAC conditions | Adopt station, statistical basis, dry/​wet bulb and extreme conditions | [degC DB/​WB; occurrence %; station/​year] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Controlled climatic data and mechanical designer approval | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-02 | Indoor HVAC conditions | Set occupied/​unoccupied temperature, humidity and tolerance per space | [degC; RH %; tolerance] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Room data sheets and client/​operator comfort review | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-03 | Cooling/​heating load and diversity | Size from documented envelope, occupancy, equipment and diversity | [kW; W/​m2; ratio] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Checked load model and reconciled architecture/​process inputs | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-04 | Ventilation and IAQ | Meet occupancy ventilation, filtration and contaminant criteria | [L/​s/​person; L/​s/​m2; filter class] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Room-by-room calculation and balancing/​IAQ test plan | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-05 | Exhaust and pressures | Meet kitchen/​toilet/​car park/​specialist exhaust and pressure relationships | [L/​s; ACH; Pa] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; R03 UAE FLS Code 2018 (fire interface); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Air balance and fire/​smoke interface with operating tests | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-06 | Plant efficiency and redundancy | Meet agreed part-load efficiency and resilience requirements | [COP/​seasonal metric; N or N+1; kW] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Selections, certificates and failure-mode assessment | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-07 | Ducts and pipes | Meet pressure/​velocity/​insulation/​acoustic requirements | [Pa/​m; m/​s; thickness mm; dB] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Sizing calculations and coordinated insulated sections | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-08 | Potable water demand and storage | Meet demand, storage, pressure, quality and backflow basis | [L/​person/​day; m3; bar; quality limits] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Demand/​storage calculation, utility approval and flushing/​sampling | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-09 | Hot water safety and recovery | Meet demand, recovery, hygiene and scalding protection | [L/​day; kW; degC; min] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Demand/​distribution analysis and health-risk commissioning | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-10 | Drainage, sewer and vents | Meet discharge, pipe sizing, venting, connection levels/​capacity | [L/​s; mm; gradient %; invert m] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Drainage calculations, riser review and sewer operator approval | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-11 | Stormwater and attenuation | Meet adopted event, runoff, discharge cap and storage | [years; mm/​h; L/​s; m3] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Hydrology/​hydraulics with climate allowance and overflow routes | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-12 | Fire-system interfaces | Align fire MEP/​power/​controls with signed strategy | [hydraulic/​electrical/​matrix IDs] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; R03 UAE FLS Code 2018 (fire interface); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Trace requirements and test fail states across disciplines | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-13 | Electricity demand and supply | Reconcile connected/​diversified loads, voltage and network offer | [kW; kVA; V; diversity; PF] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Load schedule, SLD and utility capacity/​connection approval | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-14 | Protection and earthing | Meet fault, discrimination, earthing, lightning and touch-voltage basis | [kA; ohm; ms; protection class] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Checked studies, device settings and test certificates | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-15 | Emergency and standby power | Meet autonomy and transfer/​fail-safe requirements for critical loads | [kVA; minutes/​hours; transfer s] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; R03 UAE FLS Code 2018 (fire interface); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Essential-load list, autonomy study and blackout test | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-16 | Lighting and controls | Meet maintained illuminance, glare, colour and energy criteria | [lux; glare metric; W/​m2; zones] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Photometric study with reflectance/​maintenance factors and measurements | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-17 | ELV, ICT and telecom | Meet capacity, coverage, rooms, containment and operator requirements | [ports; bandwidth; room m2; coverage %] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Operator-approved schematics and cabling/​coverage tests | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-18 | BMS and metering | Meet points, control sequence, alarms, trends and metering requirements | [points; intervals; meter accuracy] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Points/​sequence matrix and witnessed controls/​data-export tests | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-19 | Lift/​escalator engineering | Coordinate pits/​headroom, loads, power, ventilation, rescue and certification | [mm; kN; kW; kg] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Supplier data across structure/​MEP/​fire and statutory tests | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-20 | Gas and specialist systems | Meet licensed gas/​fuel/​medical/​process scope and adopted rules | [bar; flow; storage; separation m] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Specialist design, risk assessment and authority inspection | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |
| ME-21 | Maintainability and commissioning | Provide safe isolation, access, removal and testing | [clear mm; loads; test count] | R02 ADIBC (AD) or R17 /​ ED-DBC DBC as amended (Dubai); R08/​R09 TAQA where Abu Dhabi; R19 DEWA where Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Replacement-route demonstration and operator maintenance review | RIBA 2;3;4;5;6;7 | MEP leads /​ lift specialist |

## B5 · Sustainability

| CriterionID | Criterion | Requirement | Project value /​ unit | Source code & clause | Verification method | Stages | Owner |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SU-01 | Scheme and rating | Select jurisdiction, scheme/​version/​bulletins and contractual rating. Statutory minimum: Abu Dhabi 1 Pearl (private) /​ 2 Pearl (government-funded) per DMT 8 January 2025 [R07]; Dubai Al Sa'fat Silver Sa'fa for all new buildings [R18]. Client targets may exceed, never undercut, the minimum | [PBRS/​PVRS/​PCRS/​Al Sa'fat; rating] | R05 PBRS v1.0 April 2010; R06 bulletin 3 2011; R07 2025; R18 Al Sa'fat January 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Authority/​client applicability decision; never mix scheme credit thresholds | RIBA 2;3;4;5;6;7 | Sustainability lead /​ PQP |
| SU-02 | Required credits | Track every applicable mandatory credit and stage evidence | [credit IDs; complete/​applicable] | R05 PBRS v1.0 April 2010; R06 bulletin 3 2011; R07 2025; R18 Al Sa'fat January 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | PQP matrix with owners and actual authority decisions | RIBA 2;3;4;5;6;7 | Sustainability lead /​ PQP |
| SU-03 | Energy target | Meet adopted baseline comparison and absolute operating energy target | [kWh/​m2/​year; reduction %] | R05 PBRS v1.0 April 2010; R06 bulletin 3 2011; R07 2025; R18 Al Sa'fat January 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Checked energy model, weather, schedules and regulated/​unregulated boundaries | RIBA 2;3;4;5;6;7 | Sustainability lead /​ PQP |
| SU-04 | Water target | Meet indoor/​outdoor demand and reuse/​metering criteria | [L/​person/​day; m3/​year; reduction %] | R05 PBRS v1.0 April 2010; R06 bulletin 3 2011; R07 2025; R18 Al Sa'fat January 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Fixtures/​irrigation water balance and source quality/​availability | RIBA 2;3;4;5;6;7 | Sustainability lead /​ PQP |
| SU-05 | Passive/​envelope performance | Meet thermal, shading, orientation and air-leakage criteria | [U W/​m2K; SHGC; test leakage unit] | R05 PBRS v1.0 April 2010; R06 bulletin 3 2011; R07 2025; R18 Al Sa'fat January 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Energy/​envelope reconciliation and testing strategy | RIBA 2;3;4;5;6;7 | Sustainability lead /​ PQP |
| SU-06 | Materials and waste | Meet sourcing, embodied-impact and diversion requirements | [kgCO2e/​m2; % by mass; credit IDs] | R05 PBRS v1.0 April 2010; R06 bulletin 3 2011; R07 2025; R18 Al Sa'fat January 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | EPDs/​system boundary, procurement and waste evidence | RIBA 2;3;4;5;6;7 | Sustainability lead /​ PQP |
| SU-07 | Ecology and outdoor comfort | Meet habitat, heat-island, shade and external comfort criteria | [habitat m2; shade % at set time; metric] | R05 PBRS v1.0 April 2010; R06 bulletin 3 2011; R07 2025; R18 Al Sa'fat January 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Ecology and microclimate studies coordinated to landscape | RIBA 2;3;4;5;6;7 | Sustainability lead /​ PQP |
| SU-08 | Construction and operating verification | Meet construction rating, commissioning and measured-use obligations | [rating decision; tests; reporting period] | R05 PBRS v1.0 April 2010; R06 bulletin 3 2011; R07 2025; R18 Al Sa'fat January 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Credit closeout, commissioning, FM training and post-occupancy review | RIBA 2;3;4;5;6;7 | Sustainability lead /​ PQP |

## B6 · Civil infrastructure and utilities

| CriterionID | Criterion | Requirement | Project value /​ unit | Source code & clause | Verification method | Stages | Owner |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CI-01 | Survey and coordinates | Use verified plot, CRS, datum, benchmark, units and accuracy | [CRS: Dubai DLTM EPSG:3997 with vertical datum DMD unless the authority states otherwise; Abu Dhabi: the CRS in the ADM/​DMT survey and CAD/​BIM submission guideline, EPSG code + transformation, vertical datum Ras Ghumays; m; uncertainty mm; CRS record ID per BBM-STD-86 §6] | R01 DMT 2025; R08 TAQA 2024; R09 sewer; R10 traffic; R19/​R20 Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Survey control and independent model/​site alignment | RIBA 2;3;4;5;6;7 | Civil /​ infrastructure lead |
| CI-02 | Utilities and easements | Locate protected assets and applicable clearances/​easements | [routes/​depth m; easement m; confidence] | R01 DMT 2025; R08 TAQA 2024; R09 sewer; R10 traffic; R19/​R20 Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Operator records and justified field verification/​NOCs | RIBA 2;3;4;5;6;7 | Civil /​ infrastructure lead |
| CI-03 | Water connection | Confirm capacity, point, pressure, metering and fire-water basis | [L/​s; bar; mm] | R01 DMT 2025; R08 TAQA 2024; R09 sewer; R10 traffic; R19/​R20 Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Operator written conditions and hydraulic calculations | RIBA 2;3;4;5;6;7 | Civil /​ infrastructure lead |
| CI-04 | Sewer and recycled water | Confirm discharge quality/​capacity, inverts and reuse supply | [L/​s; invert m; quality] | R01 DMT 2025; R08 TAQA 2024; R09 sewer; R10 traffic; R19/​R20 Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Operator approval and network analysis; distinguish private disposal | RIBA 2;3;4;5;6;7 | Civil /​ infrastructure lead |
| CI-05 | Power and telecom corridors | Reserve substations, ducts, rooms and protected routes | [kVA; counts; corridor m] | R01 DMT 2025; R08 TAQA 2024; R09 sewer; R10 traffic; R19/​R20 Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Composite utility design and operator approvals | RIBA 2;3;4;5;6;7 | Civil /​ infrastructure lead |
| CI-06 | Flood and surface drainage | Protect buildings/​neighbours for agreed flood scenarios | [flood datum/​freeboard m; years] | R01 DMT 2025; R08 TAQA 2024; R09 sewer; R10 traffic; R19/​R20 Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Catchment model, exceedance paths and authority acceptance | RIBA 2;3;4;5;6;7 | Civil /​ infrastructure lead |
| CI-07 | Roads, access and traffic | Meet approved demand, visibility, swept paths and pedestrian safety | [trips/​hour; visibility m; capacity ratio] | R01 DMT 2025; R08 TAQA 2024; R09 sewer; R10 traffic; R19/​R20 Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Agreed TIS, road/​access design and inspection | RIBA 2;3;4;5;6;7 | Civil /​ infrastructure lead |
| CI-08 | Earthworks and retaining interfaces | Control grading, cut/​fill, erosion and adjacent movement | [m3; slope; levels m; movement mm] | R01 DMT 2025; R08 TAQA 2024; R09 sewer; R10 traffic; R19/​R20 Dubai; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Earthworks balance, geotechnical/​structural design and monitoring | RIBA 2;3;4;5;6;7 | Civil /​ infrastructure lead |

## B7 · Landscape and site

| CriterionID | Criterion | Requirement | Project value /​ unit | Source code & clause | Verification method | Stages | Owner |
| --- | --- | --- | --- | --- | --- | --- | --- |
| LA-01 | Planting and biodiversity | Meet species, habitat, soil and mature canopy/​root requirements | [native %; soil m3; habitat m2; species] | R05 PBRS 2010; R11 EAD 2022; R04 accessibility (AD); R18 Al Sa'fat 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Plant/​soil schedule, ecology and structure/​utility review | RIBA 2;3;4;5;6;7 | Landscape architect |
| LA-02 | Irrigation and reuse | Meet seasonal water budget and approved source quality | [m3/​day; L/​m2/​day; season factors] | R05 PBRS 2010; R11 EAD 2022; R04 accessibility (AD); R18 Al Sa'fat 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Irrigation balance/​zoning and written supply consent | RIBA 2;3;4;5;6;7 | Landscape architect |
| LA-03 | Accessible external routes | Meet route width/​slope, surface, shade and wayfinding criteria | [m; slope %; surface class; shade %] | R05 PBRS 2010; R11 EAD 2022; R04 accessibility (AD); R17 /​ ED-DBC DBC accessibility provisions and R41 (Dubai); R18 Al Sa'fat 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Continuous arrival/​destination audit and materials review | RIBA 2;3;4;5;6;7 | Landscape architect |
| LA-04 | External lighting and furniture | Meet safety, glare/​spill, durability and accessible placement | [lux; spill metric; clear mm; class] | R05 PBRS 2010; R11 EAD 2022; R04 accessibility (AD); R18 Al Sa'fat 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Photometric/​site plan and night/​operator inspection | RIBA 2;3;4;5;6;7 | Landscape architect |
| LA-05 | Levels and landscape loads | Coordinate thresholds, drainage, waterproofing and saturated loads | [levels m; falls %; saturated kPa] | R05 PBRS 2010; R11 EAD 2022; R04 accessibility (AD); R18 Al Sa'fat 2023; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Roof/​site sections, structural loads and drainage review | RIBA 2;3;4;5;6;7 | Landscape architect |

## B8 · Security

| CriterionID | Criterion | Requirement | Project value /​ unit | Source code & clause | Verification method | Stages | Owner |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SE-01 | Threat and risk basis | Set proportionate protected zones and response scenarios | [risk categories; zones; response minutes] | R26 ISO 19650-5:2020 (information security only; triage per BBM-STD-87); Dubai: security-system drawings follow the current SIRA/​DM requirement for the plot, confirmed at permit stage; Abu Dhabi: competent security authority confirmed at permit stage; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Client/​operator risk assessment and statutory screening | RIBA 2;3;4;5;6;7 | Security specialist /​ operator |
| SE-02 | Physical security and escape | Meet access/​perimeter protection while maintaining emergency release | [door/​zone classes; clearance m] | R26 ISO 19650-5:2020 (information security only; triage per BBM-STD-87); Dubai: security-system drawings follow the current SIRA/​DM requirement for the plot, confirmed at permit stage; Abu Dhabi: competent security authority confirmed at permit stage; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Security/​fire/​accessibility joint review and fail-safe tests | RIBA 2;3;4;5;6;7 | Security specialist /​ operator |
| SE-03 | CCTV and access systems | Meet authorised coverage, image quality, retention and privacy | [coverage %; pixel metric; days; uptime] | R26 ISO 19650-5:2020 (information security only; triage per BBM-STD-87); Dubai: security-system drawings follow the current SIRA/​DM requirement for the plot, confirmed at permit stage; Abu Dhabi: competent security authority confirmed at permit stage; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Actual security regulator/​operator design approval and witnessed tests | RIBA 2;3;4;5;6;7 | Security specialist /​ operator |
| SE-04 | Information and cyber security | Protect sensitive designs, access rights and network interfaces | [roles; retention; recovery objectives] | R26 ISO 19650-5:2020 (information security only; triage per BBM-STD-87); Dubai: security-system drawings follow the current SIRA/​DM requirement for the plot, confirmed at permit stage; Abu Dhabi: competent security authority confirmed at permit stage; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Sensitivity, segregation/​access and recovery tests; controlled handover | RIBA 2;3;4;5;6;7 | Security specialist /​ operator |

## B9 · BIM and information

| CriterionID | Criterion | Requirement | Project value /​ unit | Source code & clause | Verification method | Stages | Owner |
| --- | --- | --- | --- | --- | --- | --- | --- |
| IM-01 | Requirement traceability | Trace criteria to OPR/​brief, PIR/​AIR and appointment EIR | [RequirementIDs; revisions; owners] | R23 ISO 19650-1/​-2:2018; R24 ISO 7817-1:2024; R28 ISO 19650-4:2022; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Requirement/​criterion/​delivery reconciliation; office OIR is not client EIR | RIBA 1;2;3;4;5;6;7 | BIM Manager /​ information management |
| IM-02 | Level of information need | Specify purpose, actors, timing, objects, geometry, data and docs | [LOIN IDs; object scope; units; files] | R23 ISO 19650-1/​-2:2018; R24 ISO 7817-1:2024; R28 ISO 19650-4:2022; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Decision-specific review; no automatic stage-to-LOD equivalence | RIBA 1;2;3;4;5;6;7 | BIM Manager /​ information management |
| IM-03 | CDE identity and permitted use | Use one naming, revision, suitability, state and access mapping | [ContainerIDs; Rnn; SU; state] | R23 ISO 19650-1/​-2:2018; R24 ISO 7817-1:2024; R28 ISO 19650-4:2022; R26 ISO 19650-5:2020; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | O3-POL-01 code/​transition checks; acceptance is separate | RIBA 1;2;3;4;5;6;7 | BIM Manager /​ information management |
| IM-04 | Coordinates and exchange profile | Freeze reference frame, native/​IFC profile and validation | [CRS per CI-01 and BBM-STD-86; units; IFC 4.0.2.1 Reference View by default, IFC 4.3.2.0 only by recorded approval, authority submissions in the authority's schema (O-DEC-105); IDS 1.0 file per exchange and checker version per BBM-STD-89; BCF 3.0 (BCF 2.1 fallback); authoring build per BBM-STD-91] | R23 ISO 19650-1/​-2:2018; R24 ISO 7817-1:2024; R28 ISO 19650-4:2022; R36 ISO 16739-1:2024; R37 IDS 1.0; R38 BCF 3.0; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Alignment/​export and receiving-tool samples with exact revisions | RIBA 1;2;3;4;5;6;7 | BIM Manager /​ information management |
| IM-05 | Coordination and interfaces | Apply intersection, clearance, access and condition-specific rules | [rule/​envelope IDs and revisions] | R23 ISO 19650-1/​-2:2018; R24 ISO 7817-1:2024; R28 ISO 19650-4:2022; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | BBM-STD-50 section 3 single rule set and competent design review | RIBA 1;2;3;4;5;6;7 | BIM Manager /​ information management |
| IM-06 | MIDP/​TIDP commitments | Link criteria/​approvals to stable delivery and exchange milestones | [DeliveryID; ExchangeID; dates; dependencies] | R23 ISO 19650-1/​-2:2018; R24 ISO 7817-1:2024; R28 ISO 19650-4:2022; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | LAP reconciles task-team TIDPs and external decision dependencies | RIBA 1;2;3;4;5;6;7 | BIM Manager /​ information management |
| IM-07 | Evidence quality and safety | Supply current checked geometry/​data/​docs and residual hazards; structured risk records per BBM-STD-88 §4 | [mandatory pass count; issue/​hazard IDs] | R23 ISO 19650-1/​-2:2018; R24 ISO 7817-1:2024; R28 ISO 19650-4:2022; R27 ISO 19650-6:2025; exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | Independent revision-bound review; unresolved mandatory failures block release | RIBA 1;2;3;4;5;6;7 | BIM Manager /​ information management |
| IM-08 | Asset handover and use | Supply accepted asset data, O&M, warranties, training and update owner | [AIR/​profile IDs; assets; receipts] | R23 ISO 19650-1/​-2:2018; R24 ISO 7817-1:2024; R28 ISO 19650-4:2022; R39 ISO 19650-3:2020; R40 COBie (version per EIR); exact clause/​credit: register ID in BBM-STD-51 §3, clause in BBM-STD-57 Codes table | FM receiving/​import reconciliation and actual acceptance | RIBA 1;2;3;4;5;6;7 | BIM Manager /​ information management |

## B10 · Multidiscipline interfaces

| Interface | Decision/​check | Owners | Evidence |
| --- | --- | --- | --- |
| Structure/​facade/​MEP/​fire | Loads, movements, fixings, openings, waterproofing and fire barriers | Competent discipline leads | CriterionIDs, current calculations/​models/​details and approval/​ChangeIDs |
| Architecture/​fire/​security/​access | Usable accessible and escape routes in normal, emergency and power-failure modes | Architect/​fire/​access/​security | Door/​route/​cause-effect matrices and integrated tests |
| Civil/​landscape/​utilities | Levels, flood paths, root/​duct clearances, irrigation supply and corridors | Civil/​landscape/​utility leads | Verified levels/​capacity, composite plans and NOCs |
| MEP/​supplier/​FM | Safe access, isolation, replacement route, controls, metering and capacity | MEP/​supplier/​operator | Maintenance/​replacement demonstration and commissioning acceptance |

# Part C · Approvals and authorities register

## C0 · Applicability and route control

This is the office master screening list with Abu Dhabi detail and distinct Dubai/other-emirate routes. It does not assert that all rows apply to every project or that a national list can pre-identify every site/use consent. Screen every row; add each plot/use/sector/asset-specific consent; split grouped conditional rows into actual submissions; obtain a written jurisdiction/checklist baseline before the affected activity. Unresolved applicability remains Pending screening, never Approved or N/A by assumption.

Abu Dhabi: apply the ADIBC edition published by DMT and in force at project start (2013 edition at 2026-11-04) [R02]; identify the relevant municipality (Abu Dhabi City, Al Ain or Project), DMT planning functions historically called UPC, ADCD/ADCDA, TAQA Distribution (legacy ADDC/AADC), TAQA Water Solutions (legacy ADSSC/SWS), Abu Dhabi Mobility/ITC and actual serving telecom operator. TAMM, Binaa and e-permitting are submission channels, not approving authorities. DMT's June 2025 Binaa announcement describes phased rollout [R01]; verify actual project eligibility/channel now. Do not duplicate current/legacy applications.

Dubai: establish DM or DDA or PCFC/Trakhees permit jurisdiction and developer/free-zone boundaries. DCD, DEWA, RTA and serving operators remain applicable interfaces. Apply the Dubai Building Code (Decree 45/2021) as amended by DM Administrative Resolution No. 225 of 2024 and every later DM amending resolution in force at permit submission [R17], and Al Sa'fat second edition January 2023 [R18]; each needs an actual adoption record in the BBM-STD-51 §3 register. DM permits that meet the BIM triggers of circulars 9-1-2 and 9-1-3 [R34] need a BIM submission (AP-069); the permit BIM profile is owned by BBM-STD-85 §3. Dubai Law No. 3 of 2026 on the Quality and Safety of Buildings [R33] is an asset-life obligation (periodic inspection and Quality & Safety Certificate for buildings 20 years after completion), screened at G5, not a design-permit rule. PRS does not substitute for a Dubai scheme. Other emirates require a populated local annex.

Decision (BIM Manager, 2026-10-14): Track each actual design approval, construction permission, inspection, connection, completion and occupancy decision separately, with current authority/service, prerequisites, exact required revisions, confirmed review-cycle source and gate. Basis: official service routes [R01, R14, R15, R19, R21, R22] and MIDP dependency method (O-DEC-127).

Every master review-cycle field is verify with authority. Before programme commitment, record current published/written allowance, source/date, calendar, complete-application trigger, stop-clock rules and resubmission allowance. Do not invent fees or durations; internal office review windows are not statutory service times. Documents listed are a submission-content planning checklist; confirm the actual current authority form/profile before applying.

## C1 · Abu Dhabi and UAE conditional

ApprovalIDs are stable, not sequential: AP-067/AP-068 (C1) and AP-069 (C2) were added after the first numbering and keep their IDs.

| ApprovalID | Emirate /​ jurisdiction | Stage | Authority | Submission | Applicability trigger | Prerequisite | Documents /​ drawings required | Typical review cycle | Responsible party | Status | References |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AP-001 | Abu Dhabi | Concept/​planning | DMT municipality | Jurisdiction, title, plot and affection plan | All projects; identify ADM/​AAM/​Project jurisdiction | Client authority and PlotID | Title/​lease, applicant authority, affection plan and survey | verify with authority | Client /​ lead consultant | Pending screening | R01;R02 |
| AP-002 | Abu Dhabi | Concept/​planning | DMT planning | Planning/​master-plan conformity (legacy UPC) | New development or controls/​use change | AP-001 | Brief, use, massing, FAR/​GFA/​BUA, setbacks, height and parking/​access | verify with authority | Architect /​ planning lead | Pending screening | R01;R02 |
| AP-003 | UAE conditional | Concept/​planning | Master developer /​ landlord | Developer/​landlord design NOC | Lease/​community or existing-building constraint | AP-001 | Owner consent, plot/​lease controls and concept/​interfaces | verify with authority | Client /​ architect | Pending screening | R01;R17 |
| AP-004 | Abu Dhabi | Concept/​planning | Abu Dhabi Civil Defence | Fire concept/​strategy consultation | Where local route/​use/​risk requires | AP-002; occupancy basis | Fire strategy, occupancy/​escape/​access and hazard/​height classification | verify with authority | Fire engineer | Pending screening | R03;R30 |
| AP-005 | Abu Dhabi | Concept/​planning | DMT Estidama | Scheme/​rating and Pearl design registration | PRS building/​villa/​community applicability | AP-001; funding/​use | PQP, scheme/​version/​bulletins and required/​target-credit matrix | verify with authority | PQP /​ sustainability lead | Pending screening | R05;R06;R07 |
| AP-006 | Abu Dhabi | Concept/​planning | TAQA Distribution | Water/​power capacity and point-of-connection enquiry | Network demand/​change; legacy ADDC/​AADC | AP-001; loads/​demand | Site plan, load/​demand, proposed substation/​tank/​meter rooms | verify with authority | MEP /​ utility coordinator | Pending screening | R08 |
| AP-007 | Abu Dhabi | Concept/​planning | TAQA Water Solutions | Sewer/​reuse capacity and connection enquiry | Discharge/​reuse; legacy ADSSC/​SWS | AP-001; discharge basis | Site/​utility plan, flows/​quality, inverts and connection | verify with authority | Civil /​ plumbing lead | Pending screening | R08;R09 |
| AP-008 | Abu Dhabi | Concept/​planning | Abu Dhabi Mobility /​ ITC | TIS scoping and access concept | Traffic/​access trigger determined by authority | AP-002; use/​demand | TIS scope, trip generation, access/​parking/​loading and pedestrians | verify with authority | Traffic consultant | Pending screening | R10 |
| AP-009 | Abu Dhabi | Concept/​planning | Environment Agency Abu Dhabi | Environmental screening /​ EIA /​ licence route | Sensitive site/​impact/​regulated activity | AP-001; site/​use | Ecology/​site baseline, process and requested assessment scope | verify with authority | Environmental consultant | Pending screening | R11 |
| AP-010 | Abu Dhabi | Concept/​planning | DCT Abu Dhabi | Heritage/​archaeology screening and clearance route | Heritage setting or archaeological constraints | AP-001; site screening | Location, heritage constraints/​impact/​surveys as requested; obtain exact DCT checklist | verify with authority | Heritage specialist /​ architect | Pending screening | R12;R02 |
| AP-011 | Abu Dhabi | Concept/​planning | ADNOC /​ affected asset operator | Petroleum asset/​pipeline protection NOC | Affected asset/​easement/​hazardous interface | AP-001; verified assets | Survey, corridor/​crossing, method, risk; confirm exact operating company | verify with authority | Civil /​ utility liaison | Pending screening | R13 |
| AP-012 | UAE conditional | Concept/​planning | Aviation /​ airport /​ GCAA | Permanent height/​obstacle screening NOC | Aviation safeguarding trigger | AP-001; datum/​height | Coordinates, permanent maximum height including plant and requested study | verify with authority | Aviation specialist /​ architect | Pending screening | R31 |
| AP-013 | Abu Dhabi | Building permit | Abu Dhabi Civil Defence | Fire/​life-safety design approval | Applicable local design submission | AP-004; coordinated concept | Fire plans/​calculations, egress, facade, smoke/​suppression/​alarm and cause-effect/​power | verify with authority | Fire engineer /​ MEP | Pending screening | R03;R30 |
| AP-014 | Abu Dhabi | Building permit | DMT Estidama | Pearl Design Rating /​ credit acceptance | Applicable PRS/​permit-linked sustainability | AP-005; coordinated design | Credit evidence, energy/​water models, specifications and drawings | verify with authority | PQP | Pending screening | R05;R06;R07 |
| AP-015 | Abu Dhabi | Building permit | TAQA Distribution | Electricity design/​load/​substation NOC | Supply or network assets affected | AP-006; coordinated loads | Loads, SLD, substation/​meter rooms and protection/​connection | verify with authority | Electrical consultant | Pending screening | R08 |
| AP-016 | Abu Dhabi | Building permit | TAQA Distribution | Water design/​demand/​connection NOC | Supply or water assets affected | AP-006; coordinated demand | Demand/​storage/​meter calculations, network and backflow details | verify with authority | Plumbing /​ civil consultant | Pending screening | R08 |
| AP-017 | Abu Dhabi | Building permit | TAQA Water Solutions | Sewer/​treated-effluent design NOC | Discharge/​reuse/​network assets | AP-007; capacity | Drainage/​reuse flows/​quality, levels, connection and protection | verify with authority | Civil /​ plumbing consultant | Pending screening | R08;R09 |
| AP-018 | Abu Dhabi | Building permit | e& /​ Etisalat | Telecom building/​infrastructure design NOC | Serving operator confirmed; no duplicate assumption | AP-001; entry points | Population, rooms/​risers, ducts, power and entry plan; current operator checklist | verify with authority | ICT consultant | Pending screening | R01 |
| AP-019 | UAE conditional | Building permit | du /​ EITC | Telecom building/​infrastructure design NOC | Serving operator/​interface requires du | AP-001; operator confirmation | Affection/​site, population, SCS/​GSM floor/​room/​riser and related SLD | verify with authority | ICT consultant | Pending screening | R14 |
| AP-020 | Abu Dhabi | Building permit | Abu Dhabi Mobility /​ ITC | TIS approval /​ access and parking agreement | Required study/​access changes | AP-008; agreed scope | TIS, parking/​loading, access/​junction/​pedestrian plans and response matrix | verify with authority | Traffic consultant | Pending screening | R10 |
| AP-021 | Abu Dhabi | Building permit | DMT municipality /​ roads-drainage | Road, stormwater and public-realm design NOC | Municipal network/​ROW affected | AP-020; utility constraints | Road/​drainage calculations, levels, catchment/​flood route and public realm | verify with authority | Civil /​ landscape leads | Pending screening | R01;R02;R10 |
| AP-022 | Abu Dhabi | Building permit | Environment Agency Abu Dhabi | Environmental licence/​approval and conditions | As determined by screening | AP-009; requested studies | Assessment/​management plans, ecology/​contamination and mitigation/​monitoring | verify with authority | Environmental consultant | Pending screening | R11 |
| AP-023 | Abu Dhabi | Building permit | DMT municipality | Building permit /​ coordinated technical acceptance | Building works; confirm exact portal/​project eligibility | AP-002; all applicable pre-permit NOCs incl AP-013/​AP-014; appointments/​licences | Architecture/​structure/​MEP/​civil, code matrix/​calculations, survey/​geotech, NOCs and required BIM/​CAD profile. BIM profile only where the Binaa/​municipality checklist or the appointment requires it; no universal Abu Dhabi building-permit BIM threshold was found; follow R35 where it applies | verify with authority | Registered lead consultant | Pending screening | R01;R02;R32;R35 |
| AP-024 | Abu Dhabi | Building permit | Gas regulator /​ licensed operator | Gas/​fuel design approval | Gas/​fuel proposed; exact authority/​rule to verify | AP-013; gas source/​use | Load/​storage/​layout, detection/​shutdown, ventilation/​fire and risk | verify with authority | Licensed gas specialist | Pending screening | R02;R03 |
| AP-025 | UAE conditional | Building permit | District cooling provider | Capacity/​connection and design interface acceptance | District cooling mandated/​selected | AP-001; HVAC demand | Capacity, connection/​chamber, hydraulics, metering and access | verify with authority | Mechanical consultant /​ client | Pending screening | R02;R17 |
| AP-026 | UAE conditional | Building permit | Health /​ education /​ tourism regulator | Sector use-specific design/​operating approval route | Healthcare, school, hotel or regulated use | AP-002; actual regulator identified | Operational brief, exact sector standard/​version, room/​equipment and safety plans | verify with authority | Client /​ sector specialist | Pending screening | R12;R02;R17 |
| AP-027 | UAE conditional | Building permit | Security regulator /​ police | Security/​CCTV design approval | Site/​use/​security jurisdiction trigger | Risk basis and exact authority/​profile | Sensitive security/​coverage/​retention/​access and fire-interface matrix | verify with authority | Security consultant | Pending screening | R26;R02;R17 |
| AP-028 | UAE conditional | Building permit | Waste /​ public health authority | Waste, food, pool/​public-health design approval | Use/​activity triggers | AP-002; operating brief | Waste collection/​storage, kitchen/​grease/​exhaust, pool/​public-health as applicable | verify with authority | Architect /​ specialist | Pending screening | R02;R12;R17 |
| AP-029 | Abu Dhabi | Construction | DMT municipality | Demolition/​enabling/​excavation/​shoring permit | Scope-specific early works | AP-001; relevant design and affected NOCs | Scope drawings, temporary works, surveys, method/​risk and contractor/​insurance per service | verify with authority | Lead consultant /​ contractor | Pending screening | R01;R02 |
| AP-030 | Abu Dhabi | Construction | DMT municipality | Work start notice /​ mobilisation authorisation | Permitted works ready to start | AP-023; site/​contractor prerequisites | Land handover, project-board and start photos plus current service checklist | verify with authority | Contractor /​ supervisor | Pending screening | R32 |
| AP-031 | Abu Dhabi | Construction | Abu Dhabi Mobility /​ ITC | Traffic diversion/​road occupation/​work-zone permit | Road/​path/​traffic affected | Approved traffic plan and affected consents | Temporary traffic plan, staging, pedestrian protection and method | verify with authority | Contractor /​ traffic engineer | Pending screening | R10 |
| AP-032 | UAE conditional | Construction | Aviation /​ airport /​ GCAA | Crane/​temporary tall-plant obstacle NOC | Safeguarding/​height trigger | AP-012; crane positions/​programme | Maximum tip height/​datum, coordinates, envelope, dates and mitigation | verify with authority | Contractor /​ aviation specialist | Pending screening | R31 |
| AP-033 | Abu Dhabi | Construction | Asset operators /​ municipality | Utility crossing/​diversion/​excavation/​protection NOCs | Works close to services/​ROW | Relevant AP-011/​015/​016/​017; proven asset locations | Composite survey, protection/​crossing design, method, PTW and monitoring | verify with authority | Contractor /​ utility coordinator | Pending screening | R08;R09;R10;R13 |
| AP-034 | Abu Dhabi | Construction | EAD /​ receiving discharge authority | Dewatering/​discharge/​environmental work consent | Extraction/​discharge/​contamination/​ecology trigger | AP-022; agreed recipient/​route | Dewatering design, water quality/​volume/​point and mitigation/​monitoring | verify with authority | Environmental consultant /​ contractor | Pending screening | R11;R02 |
| AP-035 | UAE conditional | Construction | Utility operators | Temporary power/​water connection | Construction supply needed | Accepted load/​demand and safe installation | Temporary SLD/​network, meter/​connection application and safety inspection | verify with authority | Contractor /​ utility coordinator | Pending screening | R08;R19 |
| AP-036 | UAE conditional | Construction | Civil Defence /​ competent authority | Facade/​material/​fire-system specialist acceptance | Product/​shop design approval required | AP-013 or applicable Dubai fire design approval | System test scope, certificates, shop design/​calculations and technical submittals | verify with authority | Fire contractor /​ supervisor | Pending screening | R03;R30 |
| AP-037 | UAE conditional | Construction | du /​ e& serving operator | Telecom materials/​construction NOC and interim inspection | Approved telecom design entering installation | AP-018 or AP-019 | Materials, installation layouts and readiness inspection request | verify with authority | ICT contractor /​ supervisor | Pending screening | R14;R01 |
| AP-038 | Abu Dhabi | Construction | DMT municipality /​ competent authority | Mandatory structural/​MEP/​stage inspections | Permit inspection/​hold-point schedule | AP-023; accepted ITP | Inspection requests, approved drawings, test reports and stage records | verify with authority | Contractor /​ supervisor | Pending screening | R02;R01 |
| AP-039 | UAE conditional | Construction | Original approving authorities | Amended design/​permit/​NOC resubmission | Changed scope/​drawings or expired/​invalid consent | ChangeID and affected impact assessment | Revised calculations/​drawings, comparison, original approvals and response matrix | verify with authority | Lead consultant /​ discipline leads | Pending screening | R01;R14;R17 |
| AP-040 | Abu Dhabi | Construction | DCT Abu Dhabi | Heritage works/​chance-find clearance | Discovery or heritage-condition trigger | AP-010 conditions; protect affected works | Location/​find record, specialist assessment and written restart clearance | verify with authority | Contractor /​ heritage specialist | Pending screening | R12;R02 |
| AP-041 | Abu Dhabi | Completion/​occupancy | Abu Dhabi Civil Defence | Final fire inspection/​completion clearance | Installed fire systems ready | AP-013;AP-036; current approved revisions | As-builts, system tests/​cause-effect, facade/​product records, commissioning/​maintenance | verify with authority | Fire contractor /​ consultant | Pending screening | R03;R30 |
| AP-042 | Abu Dhabi | Completion/​occupancy | TAQA Distribution | Electricity final inspection/​energisation and water connection | Permanent supply ready | AP-015;AP-016; operator conditions | As-builts, tests, approved loads/​SLD, meter/​connection readiness and network release | verify with authority | MEP contractor /​ consultant | Pending screening | R08 |
| AP-043 | Abu Dhabi | Completion/​occupancy | TAQA Water Solutions | Sewer/​reuse final inspection and connection acceptance | New/​altered network connection | AP-017; approved installed works | As-builts, tests/​CCTV where required, connection/​discharge and asset handover | verify with authority | Civil contractor /​ consultant | Pending screening | R08;R09 |
| AP-044 | UAE conditional | Completion/​occupancy | du /​ e& serving operator | Telecom final inspection, room handover and service availability | Permanent telecom/​infrastructure ready | AP-037; approved design/​readiness | Tests/​as-builts, rooms/​containment handover and written availability | verify with authority | ICT contractor /​ client | Pending screening | R14;R01 |
| AP-045 | Abu Dhabi | Completion/​occupancy | DMT Estidama | Pearl Construction Rating /​ credit closeout | Applicable PRS scope | AP-014; construction evidence | Credit/​procurement/​site evidence, changes, commissioning and PQP closeout | verify with authority | PQP /​ contractor | Pending screening | R05;R07 |
| AP-046 | UAE conditional | Completion/​occupancy | Relevant specialist regulators | Lift/​gas/​sector/​security/​environment final clearance | Applicable system/​regulated use; split actual submissions | Relevant design approvals and completed installation | Witnessed tests, certificates/​licences, as-builts and operating/​safety arrangements | verify with authority | Client /​ specialists /​ contractor | Pending screening | R02;R03;R11;R12;R26 |
| AP-047 | Abu Dhabi | Completion/​occupancy | DMT municipality | Building completion certificate | Permitted works and inspections complete | AP-038/​AP-039; all applicable completion NOCs | Approved/​as-built package, supervision/​tests, fire/​utility/​sustainability clearance and checklist | verify with authority | Supervising consultant /​ contractor | Pending screening | R02;R15 |
| AP-048 | Abu Dhabi | Completion/​occupancy | DMT municipality | Applicable initial/​full/​temporary occupancy certificate | Actual new/​existing/​phased-use category confirmed | AP-047 and category-specific prerequisites confirmed by municipality | Owner application, structural/​fire/​gas/​lift/​MEP safety and temporary-occupation boundaries if relevant | verify with authority | Owner /​ licensed consultant | Pending screening | R15;R16 |
| AP-049 | Abu Dhabi | Operation/​renewal | DMT municipality /​ sector regulators | Occupancy/​operating licence renewal and conditions | Before actual expiry or material use change | AP-048; actual certificate category/​validity | Current safety/​maintenance reports, operating licences and corrective actions | verify with authority | Owner /​ FM | Pending screening | R15;R16 |
| AP-067 | UAE conditional | Concept/​planning | Rail /​ port /​ coastal /​ defence asset owner | Special infrastructure/​safeguarding/​waterfront NOC | Protected strategic asset/​interface | Location, corridor and competent asset owner | Crossing/​marine/​safeguarding studies and exact written checklist | verify with authority | Client /​ civil specialist | Pending screening | R02;R17;R31 |
| AP-068 | UAE conditional | Construction | Competent municipality /​ landlord /​ Civil Defence | Fit-out/​change-of-use/​signage/​alteration permit | Work/​use differs from base-build approval | Existing completion/​occupancy; landlord and sector/​fire consents | Existing/​proposed plans, loads/​population/​fire/​MEP changes and current service checklists | verify with authority | Tenant/​client /​ consultant | Pending screening | R02;R03;R17;R21;R22 |

## C2 · Dubai variations

| ApprovalID | Emirate /​ jurisdiction | Stage | Authority | Submission | Applicability trigger | Prerequisite | Documents /​ drawings required | Typical review cycle | Responsible party | Status | References |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AP-050 | Dubai - DM jurisdiction | Concept/​planning | Dubai Municipality | Planning/​plot/​demarcation and concept route | DM planning jurisdiction | Client authority; plot/​zone confirmation | Title/​site/​affection plan, land use, massing/​GFA, height and parking | verify with authority | Architect /​ client | Pending screening | R17 |
| AP-051 | Dubai - DDA jurisdiction | Concept/​planning | Dubai Development Authority | DDA planning and final design approval route | DDA jurisdiction confirmed | Developer/​master-plan/​plot conditions | DDA design package, planning controls, coordinated disciplines and NOCs | verify with authority | Lead consultant | Pending screening | R21 |
| AP-052 | Dubai - Trakhees jurisdiction | Concept/​planning | PCFC /​ Trakhees | CED/​EHS planning and design route | Trakhees jurisdiction confirmed | Developer/​plot controls; active CED/​EHS route | Design/​environment/​health/​safety/​green-building package and accreditation per current checklist | verify with authority | Lead consultant /​ EHS specialist | Pending screening | R22 |
| AP-053 | Dubai | Building permit | Dubai Civil Defence | Fire/​facade/​life-safety design approval | Applicable Dubai fire submission | AP-050/​051/​052 as relevant; fire strategy | DCD plans/​calculations, facade evidence and systems/​cause-effect | verify with authority | Fire engineer /​ MEP | Pending screening | R03 |
| AP-054 | Dubai | Building permit | DEWA | Electricity and water building NOCs | DEWA network/​service jurisdiction | Plot, demand/​load and coordinated layout | Site, SLD/​loads/​substation/​water design per current checklist | verify with authority | MEP consultant | Pending screening | R19 |
| AP-055 | Dubai | Building permit | RTA | TIS/​access/​ROW/​rail protection NOCs | Traffic/​access/​ROW/​rail trigger | Confirmed assets/​location, demand and study scope | Traffic/​access study and ROW/​crossing/​rail design, method/​risk as requested | verify with authority | Traffic /​ civil consultant | Pending screening | R20 |
| AP-056 | Dubai | Building permit | DM /​ sewer-drainage operator | Sewer/​stormwater/​public-health/​waste design clearance | Network/​health/​use trigger | Plot/​service capacity and discharge basis | Civil/​drainage plans/​calculations, levels, food/​pool/​waste strategy as applicable | verify with authority | Civil /​ specialist consultants | Pending screening | R17 |
| AP-057 | Dubai - competent jurisdiction | Building permit | DM /​ DDA /​ Trakhees sustainability | Al Sa'fat /​ jurisdiction green-building acceptance | Exact jurisdiction scheme confirmed | AP-050/​051/​052; applicable scheme | Energy/​water/​envelope evidence and jurisdiction forms; PRS is not a substitute | verify with authority | Sustainability lead | Pending screening | R18;R21;R22 |
| AP-058 | Dubai - DM jurisdiction | Building permit | Dubai Municipality | DM building permit | DM is competent permit authority | AP-050 and all applicable fire/​utility/​traffic/​sustainability NOCs | Architecture/​structure/​MEP/​calculations, survey/​geotech and consents; where circular 9-1-2 or 9-1-3 is triggered, the BIM model and model-extracted drawings (AP-069) | verify with authority | Registered consultant | Pending screening | R17;R34 |
| AP-069 | Dubai - DM jurisdiction | Building permit | Dubai Municipality (Building Regulation and Permits Agency) | BIM model submission with the building permit (Open BIM, IFC) | Circular 9-1-2 (from 1 Jan 2024): over 20 floors (architectural) /​ 40 floors (structural), over 20,000 m² (architectural) /​ 30,000 m² (structural), specialised buildings such as hospitals and universities, government projects except utility projects. Circular 9-1-3 (effective 1 Apr 2026): new buildings above G+12 or of 15,000 m² or more (architectural and structural); alterations to BIM-licensed buildings that add or remove floors, add 1,500 m² or more, fully redesign, change the main use or relocate on the plot need BIM with the application; other alterations need a final BIM model before the completion certificate | AP-050; BEP exchange profile; IFC schema and export setup stated in the current Dubai BIM Standard (buildindubai.gov.ae/​bim), checked at project start and recorded in the BEP | Zipped openBIM IFC within the portal upload limit; drawings extracted from the model and submitted with it; attributes per the Model Attribute Matrix issued with the current Dubai BIM Standard; IFC schema/​IDS check record before upload | verify with authority | Registered consultant /​ BIM Manager | Pending screening | R17;R34 |
| AP-059 | Dubai - DDA jurisdiction | Building permit | Dubai Development Authority | DDA final building permit | DDA is competent permit authority | AP-051 final design approval; applicable NOCs; demarcation before site activity | DDA application and current consultant/​contractor/​approval evidence | verify with authority | Contractor (applicant) /​ registered consultant (design coordination) | Pending screening | R21 |
| AP-060 | Dubai - Trakhees jurisdiction | Building permit | PCFC /​ Trakhees | Trakhees building permit /​ EHS NOC | Trakhees is competent permit authority | AP-052; applicable CED/​EHS/​NOC prerequisites | Active CED/​EHS permit package, accepted design/​accreditation | verify with authority | Registered consultant | Pending screening | R22 |
| AP-061 | Dubai | Construction | DM /​ DDA /​ Trakhees competent authority | Early works/​construction permits, inspections and amendments | Actual jurisdiction and scope/​hold points | AP-058 or AP-059 or AP-060; exact activity permission | Traffic/​utility/​crane/​early works consents, inspections/​products and changed-scope approvals | verify with authority | Contractor /​ supervisor | Pending screening | R17;R20;R21;R22 |
| AP-062 | Dubai | Completion/​occupancy | DCD /​ DEWA /​ relevant operators | Fire, utility and specialist final clearances | Installation ready for authority inspections | Relevant Dubai design approvals and stage inspections | As-builts, tests/​commissioning, fire/​utilities, specialist and operator handover | verify with authority | Contractor /​ consultant | Pending screening | R03;R19 |
| AP-063 | Dubai - competent jurisdiction | Completion/​occupancy | DM /​ DDA /​ Trakhees competent authority | Completion/​occupancy/​operating release route | Exact jurisdiction/​use category | AP-062; all applicable closeouts | Current completion checklist, certificates, sustainability/​as-builts and sector licence; verify separate occupancy route; for a DM BIM-licensed alteration, the final BIM model (AP-069) | verify with authority | Owner /​ supervising consultant | Pending screening | R17;R18;R21;R22;R33;R34 |
| AP-070 | Dubai - all jurisdictions, including free zones and special development areas | Use/​renewal | Dubai Municipality (Building Regulation and Permits Agency) | Building Quality and Safety Certificate (Build in Dubai e-service) | Building completed 20 or more years ago, on DM notice (phased: multi-storey buildings over 40 years first) | Owner appoints an engineering office licensed in Dubai with classification matching the building height; Civil Defence and SIRA compliance certificates | Technical report against the DM technical checklist (structure, external cladding, windows/​doors/​guards, external and common-area MEP, Civil Defence, SIRA) with laboratory tests as needed; where defects exist, remediation methods, material specifications, agreed duration and owner undertaking, then remediation records; procedure in BBM-STD-75 §7 | DM review, permit to start remediation, inspection; valid 10 years (under 40 years since completion) or 5 years (40+), renewal in the last 90 days before expiry | Owner /​ appointed engineering office | Pending screening | R33;R42 |

## C3 · Other-emirate route annex

| ApprovalID | Emirate /​ jurisdiction | Stage | Authority | Submission | Applicability trigger | Prerequisite | Documents /​ drawings required | Typical review cycle | Responsible party | Status | References |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AP-064 | Other emirates - Sharjah | Concept/​planning | Sharjah competent authorities | Local permit/​NOC/​utility/​occupancy route screening | Sharjah site; not copied AD/​Dubai rules | Plot/​use/​free-zone jurisdiction | Confirm planning/​municipality, Civil Defence, SEWA, roads, telecom, sewer/​environment/​sector routes; split stage rows | verify with authority | Lead consultant | Pending screening | R29 |
| AP-065 | Other emirates - Ajman/​UAQ/​Fujairah | Concept/​planning | Local municipality /​ free-zone authority | Local permit/​NOC/​utility/​occupancy route screening | Project in named emirate | Plot/​use/​free-zone jurisdiction | Confirm building/​planning, Civil Defence, EtihadWE or serving utility, sewer/​roads/​telecom/​environment/​sector; split rows | verify with authority | Lead consultant | Pending screening | R29 |
| AP-066 | Other emirates - Ras Al Khaimah | Concept/​planning | RAK competent authorities | Local permit/​NOC /​ Barjeel screening | RAK site and actual jurisdiction | Plot/​use/​municipality or free zone | Obtain current Barjeel code/​edition/​applicability and planning/​building/​fire/​utilities/​roads/​telecom/​environment/​occupancy routes; split stage rows | verify with authority | Lead consultant | Pending screening | R29 |

## C4 · Actual submission tracker and status rules

For each actual submission maintain: ApprovalID, ParentApprovalID when split, jurisdiction, stage, actual authority/service/version/URL/date, applicability decision/evidence, prerequisite IDs, document/drawing IDs/revisions, applicant, responsible person, planned/actual submission dates, verified review basis and target response, receipt/application number, review comments/conditions with owners/dates, decision date/record, validity/expiry, revalidation trigger, MIDP DeliveryID/ExchangeID, allowed next activity and gate checker.

The canonical approval-status vocabulary is the BBM-STD-57 §2/§4 set (O-DEC-110; O-DEC-140): Unverified, Planned, Submitted, Conditionally approved, Approved, Rejected, Expired. "Not applicable" is an applicability decision, not a status. The tracker's working statuses map to it in BBM-STD-93 §7: Pending screening (= Unverified), Not started and In preparation (= Planned), Submitted and Under review (= Submitted), Revise/resubmit and Rejected (= Rejected), Approved with conditions (= Conditionally approved), Approved (= Approved), Expired and Superseded (= Expired; Superseded is also kept as a record flag); Not applicable is an applicability decision with recorded reason and authority. N/A needs signed applicability evidence. Submitted needs actual receipt. Approval needs the authority's exact decision and scope, not a consultant recommendation. Conditional approval does not release an activity until the relevant conditions are checked closed; confirm scope and expiry. Changed drawings/scope trigger affected NOC/permit review and resubmission where required. Preserve every prior application and decision.

Completion and occupancy are separate checks. DMT Administrative Decision No. 1 of 2024 [R15] and the 5 August 2026 notice [R16] establish an active occupancy-certification framework. Record actual category, applicability, permitted areas/use, conditions and expiry. Partial/temporary occupation needs approved fire/utility/escape/separation arrangements and the actual certificate for that boundary. Handover, energisation, completion or a pending application alone do not establish occupancy permission. Verify existing-building exceptions and renewal timing for the actual case; no universal certificate validity is assigned here.

## C5 · Stage, authority and release gates

Indicative stage-to-authority-to-gate path. Confirm actual sequence/parallel reviews; return changed scope to affected approvals.

These BoD gates G0–G5 are one of three gate families (O-DEC-109): office stage gates (Manual §2.1), BoD gates G0–G5 (here) and authority gates (BBM-STD-57 §4). The mapping is in BBM-STD-93 §6: G1 = Concept/planning, G2 = Permit/final design, G3 = Construction activity, G4 = Completion/operation; G0 and G5 have no authority-gate equivalent. Gate outcomes are letters A/B/C (O-DEC-107).

| Gate | Evidence /​ release condition | Responsible check |
| --- | --- | --- |
| G0 Basis | Brief/​OPR, plot/​survey, jurisdiction, adopted-code and screening baseline; any bounded study limitations explicit | Lead consultant/​client and competent discipline authorities |
| G1 Concept/​planning | Applicable planning/​developer/​traffic/​environment/​heritage/​utility constraints and concept decisions current | Lead consultant and actual authority decisions |
| G2 Permit/​start activity | Required design approvals/​NOCs, valid relevant building/​early-works permission and all conditions for exact next activity closed | Permit applicant, supervisor and contractor verify authority evidence |
| G3 Construction | Approved designs/​products, stage inspections, site/​utility/​traffic consents and amended approvals before covering/​releasing work | Supervisor, inspector and competent authority |
| G4 Completion/​occupancy | Final tests/​as-builts/​fire/​utilities/​sustainability/​sector clearances, completion and applicable occupancy/​operating decisions | Supervisor/​owner/​operator; authorities grant their own permissions |
| G5 Use/​renewal | Actual certificate/​maintenance/​inspection renewals and operating performance/​actions current; in Dubai, Law No. 3 of 2026 periodic inspection and Building Quality and Safety Certificate once the building is 20 years from completion, procedure in DM circular 11-9-1 of 2026 (AP-070) [R33; R42] | Owner/​FM and competent municipality/​sector regulator |

# Part D · Decisions, assumptions, deviations and MIDP links

## D1 · Option appraisal and decision log

Safety, statutory requirements and mandatory client outcomes are vetoes. Compare viable options on equal scope: performance, whole-life cost, constructability, programme, maintenance, environmental impact and evidence confidence. Set any scoring weights/normalisation before scoring and preserve raw values; a preferred score cannot waive a veto.

| DecisionID/​date/​stage | Requirement/​purpose/​options | Comparable measures/​evidence | Required LOIN/​revision | Selection/​rationale/​risk | Designer/​checker/​authoriser | Affected criteria/​approvals/​ChangeID |
| --- | --- | --- | --- | --- | --- | --- |
| DEC-[nnn] /​ [date/​Sx] | [RequirementIDs; baseline and alternatives] | [Values/​units/​boundary, source/​calculation revisions and veto results] | [Purpose, actors, timing, objects, geometry/​data/​docs] | [Chosen option, trade-offs, uncertainty and review trigger] | [Actual role-holder IDs and decision record] | [Criterion/​AP/​Delivery/​ExchangeIDs; ChangeID] |

## D2 · Assumptions and uncertainty register

| AssumptionID | Assumed value/​unit/​range | Source/​confidence/​why needed | Affected decision/​consequence | Validation action/​owner/​due milestone | Disposition/​expiry/​approval evidence |
| --- | --- | --- | --- | --- | --- |
| ASM-[nnn] | [Value, units and uncertainty] | [Evidence reference or explicit unsupported assumption] | [CriterionIDs and safety/​cost/​permit impact] | [Test, role-holder, date/​ExchangeID] | [Pending/​validated/​replaced/​rejected; exact record] |

Assumptions are allowed only for a bounded study purpose with risk/limitations visible. Resolve critical occupancy, escape, stability, utilities or survey assumptions before affected reliance. A due date passing never validates an assumption. Replace assumptions through ChangeID, retaining original records and affected revisions.

## D3 · Deviation/derogation register

| DeviationID/​ChangeID | Requirement/​adopted clause | Required vs proposed value/​reason | Impact/​compensation/​tests | Required consenting authority | Decision/​scope/​expiry/​conditions | Outputs/​closure |
| --- | --- | --- | --- | --- | --- | --- |
| DEV-[nnn] /​ CHG-[nnn] | [Register ID/​CriterionID; statutory/​client/​office class] | [Same units and explicit difference] | [Safety/​access/​performance/​cost/​programme/​operation] | [Competent designer; client for client target; AHJ for law; office owner for office rule] | [Pending/​accepted/​refused; actual written consent] | [Calculations/​drawings/​models/​permits and completed actions] |

BIM Manager consent cannot waive technical law; client consent cannot waive statutory limits. Alternative solutions need competent design justification and actual statutory approval where required. Until consent/conditions are evidenced, status remains Deviation, blocking affected release. A lawful accepted alternative becomes the new documented requirement only after controlled baseline revision/recheck; retain the original requirement and consent lineage.

## D4 · Approval tracker linked to delivery milestones

| ApprovalID/​submission rev | MIDP DeliveryID/​ExchangeID/​TIDP row | Predecessor/​recipient/​decision | Planned submit/​review basis/​response | Actual receipt/​comments/​decision | Conditions/​expiry/​revalidation | Gate/​activity/​ChangeID |
| --- | --- | --- | --- | --- | --- | --- |
| [AP-ID; manifest revision] | [Stable IDs and baseline revisions] | [Approval/​evidence IDs and actual authority] | [Real dates; confirmed allowance/​resubmission] | [Receipt number/​date; decision/​status] | [Owner/​due/​evidence; validity] | [Permitted activity, checker/​date and lineage] |

1.  Work back from each required decision/activity: production, L1 discipline check, L2 coordination, L3 technical committee as applicable, corrections, authorisation, external review/resubmission and recipient acceptance are separate allowances.

2.  Task leads commit TIDPs; LAP reconciles MIDP. Authority coordinator provides confirmed external dependencies. One ChangeID updates affected design, approval, procurement, temporary works and handover commitments.

3.  Retain revised dates/baselines, notices and acknowledgements. Upload, meeting note or dashboard colour is not receipt or approval evidence.

## D5 · Completed synthetic example (training only)

Values below are fictitious client/manufacturer requirements, not UAE code limits, actual project evidence or authority approvals.

| Trace | Synthetic record | Decision /​ consequence |
| --- | --- | --- |
| OPR-SYN-01 -> ME-21 /​ IM-05 | Manufacturer SYN-MFR-01 R01 requires 600 mm AHU withdrawal clearance (same synthetic requirement as TIDP V0.3); model SYN-ME R02 provides 520 mm | Shortfall 80 mm; Deviation. No averaging with other criteria |
| DEC-SYN-01 /​ LOIN-SYN-01 | Option A moves partition to provide 650 mm; option B changes unit but supplier dimensions remain unverified. Need geometry, dimensional data and replacement-sequence drawing | Select A subject to architecture/​fire/​access review; B is not validated |
| CHG-SYN-01 | MEP/​architect agree revised model; fire/​access check route; independent check confirms 650 mm against unchanged 600 mm requirement | ME-21 may become Compliant for RIBA 3 only after current evidence accepted; no permit is fabricated |
| MIDP-SYN-01 /​ actual project AP-ID | Revised documents and approval-impact assessment linked to ExchangeID | Construction remains blocked until actual applicable permissions and conditions are satisfied |
| RIBA 6/​7 | RIBA 3 geometry does not prove installed access or operating performance | Witness replacement/​maintenance access and FM acceptance; keep each stage's evidence |

# Part E · Measurement, acceptance and sign-off

## E1 · Stage scorecard and release rule

The workbook expands each Part B criterion into every listed stage. CriterionID + stage + location/object scope is the project key; allocate unique suffixes for split locations. Retain stage history and baseline revisions. Applicability begins Pending screening.

Evidence statuses are Compliant, Deviation, Pending evidence. Applicability is separate: Required, Not applicable, Pending screening. N/A needs reason, owner, checker/date and current decision evidence, and never counts as compliant. Blank adoption/clause, target/unit, result, evidence revision or competent check means Pending evidence regardless of a typed Compliant label. Numeric targets/results are typed numbers in the project workbook; categorical checks use explicit categories and documented comparison.

| Stage/​gate/​scope | Required N | Compliant C | Deviation D | Pending P | Approved N/​A | Unscreened U | Coverage /​ decision |
| --- | --- | --- | --- | --- | --- | --- | --- |
| [Sx; ExchangeID; zone] | [Required rows] | [Current supported pass rows] | [Required failed rows] | [Required without supported pass/​fail] | [Valid exclusions] | [Pending screening] | C/​N only if N>0; otherwise N/​A with scope approval. Release requires U=0, D=0, P=0, valid N/​A bases and required authority gates closed |

Do not combine stages into a misleading percentage. Show scope, date, denominator, raw counts, failed criteria and source revisions. If optional/aspirational targets are added, report them separately; they cannot offset mandatory failure. Spreadsheet completeness checks do not verify source authenticity, engineering comparison or statutory applicability; competent reviewers sign the actual evidence.

## E2 · Evidence record

| Criterion/​stage/​scope | Target/​unit/​comparison | Actual result | Adoption/​clause/​evidence revision | Method/​uncertainty/​outcome | Checker/​date/​technical approver | Approval and delivery links |
| --- | --- | --- | --- | --- | --- | --- |
| [ID; Sx; zone/​object population] | [Mandatory flag; min/​max/​range/​exact/​category and value] | [Typed measurement/​calculation or explicit category] | [BBM-STD-51 §3 register ID; exact verified clause; calc/​drawing/​model/​test IDs+revisions] | [Conditions, tolerance/​uncertainty, pass/​fail reason] | [Distinct competent checker; signature/​date] | [AP/​DEC/​DEV/​ASM/​CHG; Delivery/​ExchangeIDs] |

## E3 · Sign-off record per stage and revision

| Function | Required sign-off /​ evidence |
| --- | --- |
| Discipline preparer | [Criteria, sources and evidence complete; scope/​revision; role-holder signature/​date] |
| Independent competent checker | [Calculations, units, comparison, safety/​interfaces and exceptions; signature/​date] |
| Lead consultant /​ technical committee | [Cross-discipline basis, residual risks and approved stage baseline; signature/​date] |
| Authority coordinator | [Applicability, actual consents, conditions, scope/​expiry and next activity checked; register revision/​date] |
| LAP /​ information management | [MIDP/​TIDP/​LOIN, manifest, permitted use and access; signature/​date] |
| Client /​ asset owner /​ FM | [Requirements/​operational acceptance, limitations, residual actions and owners; decision/​date] |
| Release authoriser | [Gate, permitted use, exact revisions, open-gap list and release record] |
| Statutory decisions | [Separate actual authority records; consultant signatures do not substitute] |

## E4 · Acceptance criteria and handover

•  Verified client/plot/use/phasing data and code-adoption baseline; unsupported inputs visibly bounded.

•  Every mandatory criterion has project target/unit, verified source/clause, method, stage, owner and current independent evidence; all unresolved mandatory failures block affected release.

•  No unexplained pending screening/N/A at release. Required authority decisions, conditions, permitted activity, validity and changed-scope reviews are evidenced.

•  Options, assumptions, deviations and interfaces trace to current calculations/drawings/models and one ChangeID propagated to MIDP/TIDPs.

•  RIBA 6 evidence includes approved design/as-built reconciliation, inspections, witnessed integrated fire/MEP and fail-state tests, calibration records, commissioning/seasonal-test plan, accepted O&M/asset data, warranties, operator training and demonstrated capability, required maintenance contracts/licences. Record residual/seasonal owner and due trigger; do not carry a non-waivable safety condition into occupancy.

•  FM tests import/use and reconciles asset information; actual receipt/acceptance names the scope/revision. At RIBA 7 compare monitored energy/water/comfort/system operation with approved targets, investigate differences and update controlled asset information.

•  Retain immutable released manifests, superseded decisions and actual authority certificates in the CDE. Restrict sensitive security/identity records; link controlled evidence rather than copying it into unrestricted reports.

# Research coverage and boundaries

Method: requirements/conditions -> assumptions -> options -> discipline criteria -> interfaces -> current evidence -> commissioning/operation; no TBP product marketing copied. Sources are tagged in the References below and the edition register (BBM-STD-51 §3). Controls and the synthetic example are template methods, not claimed project compliance.

Controls retained from the office set: terminology/requirements; CDE vs acceptance; one naming grammar; purpose-led LOIN; single coordination rules; MIDP/TIDP ownership; survey certainty; correct RIBA stage names; appointment authority; model-vs-code safety distinction. No new tolerance or naming policy is created.

Conditional heritage, sector, gas, security, district-cooling and other-emirate entries are screening prompts; checklists, clauses and applicability come from the competent authority. Research accessed 16 October 2026; UAE entries rechecked 4 November 2026. Blank fields are required project inputs.

# References · official publications and routes

Publication edition/date is given where verified; live undated pages use the access date. RESEARCH.md S01/S02/S03/S04/S05/S06/S07/S19/S21 supplies the prior information-management basis. Editions and adoption are held once in the BBM-STD-51 §3 register (O-DEC-111); this table keeps the BoD reference IDs used in the criteria. No technical clause number is invented from an abstract; office decisions are local choices.

| RefID | Register ID (BBM-STD-51 §3) | Title /​ service | Official publisher | Edition /​ date | Official URL | Applicability boundary | Access date |
| --- | --- | --- | --- | --- | --- | --- | --- |
| R01 | — | Binaa Construction Permits Platform launch | DMT | 18 June 2025; phased rollout | https:/​/​www.dmt.gov.ae/​en/​Media-Centre/​News/​Binaa-Construction-Permits-Platform-Launched | Confirm actual eligibility/​channel; TAMM and Binaa are channels, not authorities | 2026-10-16 |
| R02 | ED-ADIBC | Abu Dhabi International Codes: ADIBC, ADIECC, ADIFGC, ADIMC, ADIPSDC, ADIPMC | DMT | ADIBC edition published by DMT and in force at project start; 2013 edition (Executive Council Resolution 7C 26/​2013, effective 1 October 2013) is the latest DMT publishes at 2026-11-04 | https:/​/​www.dmt.gov.ae/​-/​media/​Project/​DMT/​DMT/​Codes/​3-ADIMC-2013_1-12-2013.pdf | Obtain adopted volumes, referenced-standard editions and local amendments; record in BBM-STD-51 §3 | 2026-11-04 |
| R03 | ED-UAE-FLS | UAE Fire and Life Safety Code of Practice | UAE Ministry of Interior, General Command of Civil Defence (published on the Dubai Civil Defence portal) | September 2018 edition; no later national edition found | https:/​/​www.dcd.gov.ae/​portal/​preventive-safety/​uae-fire-and-life-safety-code-of-practice.jsp | Edition plus the emirate authority's amendments (DCD, ADCDA) current at project start, recorded in the BEP; confirm exact clauses | 2026-11-04 |
| R04 | — | Abu Dhabi International Accessibility Standards | DMT | Official hosted edition; date/​current amendments to verify | https:/​/​www.dmt.gov.ae/​-/​media/​Project/​DMT/​DMT/​Codes/​3-ADAccessStd_bookmarked.pdf | PDF title verified; confirm current accessibility/​Sahel applicability | 2026-10-16 |
| R05 | ED-ESTIDAMA | Pearl Building Rating System: Design and Construction | UPC /​ DMT | Version 1.0, April 2010; official cover verified | https:/​/​www.dmt.gov.ae/​-/​media/​Project/​DMT/​DMT/​E-Library/​0001-Manuals/​PBRS/​PBRS-Version-10.pdf | Select building/​villa/​community scheme; verify current bulletins/​credits | 2026-10-16 |
| R06 | ED-ESTIDAMA | Estidama Information Bulletin 3: buildings requiring PBRS | UPC /​ DMT | Version 1.0, 2 February 2011 | https:/​/​pages.dmt.gov.ae/​-/​media/​499659DE51C34B118B94DCEFD5384F87.ashx?download=1 | Historical scope list; superseded by R07 for minimum ratings | 2026-11-04 |
| R07 | ED-ESTIDAMA | Sustainable green building implementation | Abu Dhabi City Municipality | 8 January 2025 | https:/​/​www.dmt.gov.ae/​en/​adm/​Media-Centre/​News/​08Jan2025 | Building-permit condition: minimum 1 Pearl private, 2 Pearl government-funded; municipality implements Estidama design/​construction stages | 2026-11-04 |
| R08 | — | New unified distribution company and group brands | TAQA | 16 September 2024; distribution transition January 2025 | https:/​/​taqa-ws.com/​news/​announcements/​taqa-announces-new-unified-customer-facing-distribution-company-and-launches-new-brands-for-its-group-companies/​ | TAQA Distribution replaces ADDC/​AADC; Water Solutions replaces SWS; Transmission replaces TRANSCO | 2026-10-16 |
| R09 | — | Wastewater operator services | TAQA Water Solutions | Live official site; undated | https:/​/​taqa-ws.com/​ | ADSSC/​SWS are legacy aliases; exact checklist to verify | 2026-10-16 |
| R10 | — | Digital services: TIS and traffic detour | Abu Dhabi Mobility /​ ITC | Live official catalogue; undated | https:/​/​admobility.gov.ae/​en/​digital-services | Confirm traffic/​access and municipal-road interfaces | 2026-10-16 |
| R11 | — | Environmental Assessment and Licensing executive regulation | EAD | 8 December 2022 publication notice | https:/​/​www.ead.gov.ae/​en/​Media-Centre/​News/​Executive-Regulations-for-Environmental-Assessment | EAD determines environmental screening/​licence/​assessment requirements | 2026-10-16 |
| R12 | — | Service catalogue: hotel plan approval and licensing | DCT Abu Dhabi | Live official catalogue; undated | https:/​/​dct.gov.ae/​en/​media.centre/​news/​service.card.aspx | Tourism source; heritage-specific checklist unverified: obtain written DCT route | 2026-10-16 |
| R13 | — | Onshore Pipelines Construction Specification AGES-SP-10-003 | ADNOC | Revision 1; 2021 public repository | https:/​/​www.adnoc.ae/​-/​media/​adnoc-v2/​files/​specs/​2021/​engineering-standards-and-specifications-october14th/​onshore-pipelines-contruction-spec.ashx | Asset/​corridor NOC principle, not a universal building rule | 2026-10-16 |
| R14 | — | Telecom NOC: design, construction, materials and inspection | du /​ EITC | Live official service; undated | https:/​/​www.du.ae/​no-objection-certificate | Multiple TDRA versions mentioned: obtain one applicable current profile | 2026-10-16 |
| R15 | — | Buildings Occupancy Certification System | DMT | Administrative Decision No. 1 of 2024 | https:/​/​pages.dmt.gov.ae/​-/​media/​0E6A6EEBFFFF4FA68DC6868F0AE85DD0.ashx | Confirm actual category, phased applicability, validity and exceptions | 2026-10-16 |
| R16 | — | Occupancy-certificate implementation notice | DMT | 5 August 2026 | https:/​/​www.dmt.gov.ae/​ar-AE/​Media-Centre/​News/​DMT-Grants-Grace-Period-to-Comply-with-Occupancy-Certificate-Rules | Current issuance/​renewal screening; completion alone does not establish occupancy permission | 2026-10-16 |
| R17 | ED-DBC | Dubai Building Code | Dubai Municipality | DBC (Decree 45/​2021) as amended by DM Administrative Resolution No. 225 of 2024 (13 August 2024) "amending some building specifications in the DBC" | https:/​/​www.dm.gov.ae/​?p=352286 | Apply the DBC plus all DM amending resolutions in force at permit submission; record in BBM-STD-51 §3 | 2026-11-04 |
| R18 | ED-ALSAFAT | Al Sa'fat - Dubai Green Building System | Dubai Municipality | Second edition, January 2023 | https:/​/​www.dm.gov.ae/​municipality-business/​al-safat-dubai-green-building-system/​ | Silver Sa'fa mandatory for all new buildings in Dubai; Golden/​Platinum optional; confirm jurisdiction applicability | 2026-11-04 |
| R19 | — | Building No Objection Certificate - Electricity /​ Water | DEWA | Live official service; undated | https:/​/​www.dewa.gov.ae/​en/​about-us/​service-guide/​builder-services/​building-no-objection-certificate | Building NOC, asset protection and final connection are distinct | 2026-10-16 |
| R20 | — | Utilities/​facilities within right of way NOC, service 318 | RTA | Live official service; undated | https:/​/​rta.ae/​wps/​portal/​rta/​ae/​home/​rta-services/​service-details?serviceId=318 | Confirm separate traffic, ROW and rail routes | 2026-10-16 |
| R21 | — | Final Building Permit | Dubai Development Authority | Live official service; undated | https:/​/​dda.gov.ae/​en/​planning-development/​construction/​permits-nocs/​final-building-permit | DDA jurisdiction; final design approval prerequisite; demarcation before site activity | 2026-10-16 |
| R22 | — | Trakhees Civil Engineering service-document register | PCFC /​ Trakhees | Live register; individual revisions vary | https:/​/​pcfc.ae/​en/​Pages/​ServiceDocuments.aspx?D=Civil+Engineering+Department&E=Trakhees&S=Accreditation&T=Circulars | Confirm active CED/​EHS permit, construction and completion documents | 2026-10-16 |
| R23 | ED-ISO19650-1; ED-ISO19650-2 | ISO 19650-1 concepts; ISO 19650-2 delivery | ISO | 2018 editions | https:/​/​www.iso.org/​standard/​68080.html | Information/​appointment basis; companion part 1 source S01 in RESEARCH.md | 2026-10-16 |
| R24 | ED-ISO7817-1 | ISO 7817-1 Level of information need - Concepts and principles | ISO | 2024, edition 1 | https:/​/​www.iso.org/​standard/​82914.html | Purpose, actors, timing, objects; geometry, data and documents | 2026-10-16 |
| R25 | ED-RIBA-POW | RIBA Plan of Work | RIBA | 2020 | https:/​/​www.riba.org/​media/​sszn5kkt/​2020ribaplanofworktemplatepdf.pdf | Stages 0-7; stage 3 Spatial Coordination; not statutory permission | 2026-10-16 |
| R26 | ED-ISO19650-5 | ISO 19650-5 Security-minded information management | ISO | 2020; confirmed 2025 | https:/​/​committee.iso.org/​cms/​live/​live/​en/​sites/​isoorg/​contents/​data/​standard/​07/​42/​74206.html | Information sensitivity/​access; not a CCTV technical approval specification | 2026-10-16 |
| R27 | ED-ISO19650-6 | ISO 19650-6 Health and safety information | ISO | 2025, edition 1 | https:/​/​www.iso.org/​standard/​82705.html | Delivery/​operational safety information; office requirements in BBM-STD-88 | 2026-11-04 |
| R28 | ED-ISO19650-4 | ISO 19650-4 Information exchange | ISO | 2022 | https:/​/​www.iso.org/​standard/​78246.html | Exchange quality/​evidence; no universal office scoring threshold prescribed | 2026-10-16 |
| R29 | — | Energy efficiency: emirate programmes | UAE Government | Live guidance; undated | https:/​/​u.ae/​en/​information-and-services/​environment-and-energy/​water-and-energy/​energy-efficiency | Other-emirate scheme screening; obtain local code editions/​services | 2026-10-16 |
| R30 | — | Civil Protection Sector | Abu Dhabi Civil Defence Authority | Live official portal; undated | https:/​/​www.adcda.gov.ae/​about-us/​Department2 | ADCD/​ADCDA route to confirm; DCD is Dubai authority | 2026-10-16 |
| R31 | — | Objects outside obstacle limitation surfaces | GCAA | Safety Decision 2021-12, Issue 01 | https:/​/​www.gcaa.gov.ae/​en/​epublication/​EPublications/​Safety%20Decisions/​2021/​SAFETY%20DECISION%202021-12%20-%20OBJECTS%20OUTSIDE%20THE%20LIMITS%20OF%20OBSTACLE%20LIMITATION%20SURFACES%20-%20ISSUE%2001.pdf | Aviation obstacle screening; current local airport/​crane route to verify | 2026-10-16 |
| R32 | — | Work start notice for building permits | TAMM /​ DMT | Live official service; undated | https:/​/​www.tamm.abudhabi/​ar-AE/​life-events/​business/​housing-construction/​consultants-contractors/​WorkStartNoticeforBuildingPermit | Notice stage; not substitute for relevant permit/​prerequisites | 2026-10-16 |
| R33 | ED-DXB-LAW-3-2026 | Law No. 3 of 2026 Concerning the Quality and Safety of Buildings | Government of Dubai | Issued 27 February 2026; Official Gazette issue 764, 12 March 2026; in force from 11 May 2026 (O-DEC-156); applied by R42 | https:/​/​dlp.dubai.gov.ae/​Legislation%20Reference/​2026/​Law%20No.%20%283%29%20of%202026%20Concerning%20the%20Quality%20and%20Safety%20of%20Buildings.html | Emirate law on existing buildings: Quality & Safety Certificate required after 20 years from completion, valid 10 years (5 years at 40+ years); asset-life obligation, not a design-permit rule | 2026-11-05 |
| R34 | ED-DM-9-1-2; ED-DM-9-1-3 | Circulars 9-1-2 and 9-1-3 on BIM model submission with building permits | Dubai Municipality, Building Regulation and Permits Agency | 9-1-2: 13 October 2023, from 1 January 2024; 9-1-3: 15 January 2026, effective 1 April 2026 | https:/​/​dmpmedia.dm.gov.ae/​uploads/​2023/​10/​تعميم-BIM-9-1-2.pdf ; https:/​/​www.dm.gov.ae/​wp-content/​uploads/​2026/​02/​Circular-9-1-3.pdf | Neither circular states an IFC version: use the IFC schema and export setup in the current Dubai BIM Standard (buildindubai.gov.ae/​bim), checked at project start; detail in BBM-STD-85 | 2026-11-04 |
| R35 | ED-ADM-BIM | ADM BIM Code of Practice; BIM Documentation Guidelines for Infrastructure; Infrastructure BIM Object Catalogue | DMT /​ Abu Dhabi City Municipality | Code of Practice October 2020 (cover v1, headers v1.1); Guidelines v1.0 October 2020; Object Catalogue v2.0 May 2021 | https:/​/​www.dmt.gov.ae/​adm/​-/​media/​Project/​DMT/​ADM/​E-Library/​0001-Jan-2022-Doc/​ADM-BIM-005Code-of-Practice.pdf | Applies where the appointment or authority requires it; no universal Abu Dhabi building-permit BIM threshold | 2026-11-04 |
| R36 | ED-ISO16739-1 | ISO 16739-1 Industry Foundation Classes (IFC 4.3.2.0) | ISO | 2024, edition 2 | https:/​/​www.iso.org/​standard/​84123.html | Office default remains IFC 4.0.2.1 Reference View; IFC 4.3.2.0 by recorded approval only (O-DEC-105) | 2026-11-04 |
| R37 | ED-IDS | Information Delivery Specification (IDS) 1.0 | buildingSMART International | v1.0 final, June 2024 | https:/​/​github.com/​buildingSMART/​IDS/​releases | Alphanumeric checks per exchange; name checker and version; schema conformance via the IFC Validation Service | 2026-11-04 |
| R38 | ED-BCF | BIM Collaboration Format (BCF) 3.0 | buildingSMART International | Final 18 June 2021; BCF 2.1 (2017) fallback | https:/​/​github.com/​buildingSMART/​BCF-XML/​releases/​tag/​v3.0 | Issue exchange between coordination tools | 2026-11-04 |
| R39 | ED-ISO19650-3 | ISO 19650-3 Operational phase of assets | ISO | 2020, edition 1 | https:/​/​www.iso.org/​standard/​75109.html | Asset information handover and AIM update | 2026-11-04 |
| R40 | ED-COBIE | COBie | NIBS (NBIMS-US) | Version as specified in the client EIR; default COBie 2.4 (NBIMS-US V3) unless the EIR names COBie v3 (NBIMS-US V4) (O-DEC-114) | https:/​/​nibs.org/​nbims/​v4/​resources/​ | Delivered only when the EIR requires it | 2026-11-04 |
| R41 | — | Dubai accessibility requirement named by the competent authority (DM /​ DDA /​ Trakhees) | Competent Dubai authority | Edition checked at project start and recorded in BBM-STD-51 §3 | https:/​/​www.dm.gov.ae/​municipality-business/​buildings-regulation-permits-agency/​ | Use with the DBC accessibility provisions [R17]; R04 is Abu Dhabi only | 2026-11-04 |
| R42 | ED-DM-11-9-1 | Circular (11-9-1) of 2026 applying Law No. 3 of 2026; guidance manual "Building Quality and Safety Certificate" (11-9-1-1) | Dubai Municipality, Building Regulation and Permits Agency | Circular 1 October 2026; manual May 2026 | https:/​/​dmpmedia.dm.gov.ae/​uploads/​2026/​10/​11-9-1.pdf ; https:/​/​dmpmedia.dm.gov.ae/​uploads/​2026/​10/​11-9-1-1.pdf | Existing Dubai buildings 20 or more years from completion: certificate procedure and technical checklist; not a design-permit rule (AP-070) | 2026-11-05 |