## Read me
Field | Instruction
Document | BBM-STD-52-AIR-V0.1
State | Private WIP template for office review and adoption
Examples | SYN-P001 is fictional. All role IDs, dates and evidence tokens in examples are synthetic.
Use | Copy blank tables into the restricted project register. Replace synthetic particulars and obtain actual authority before activation.
Inputs | Amber blank rows are editable. Dropdowns are prompts; validate required fields and joins before release.
Authority | A cell is not an appointment, permit, signed licence or receiving-system test.
Revision | Template V0.1. Project records use Rnn with stable IDs, source revisions and ChangeID.
Note 1 | OIR-007 -> AIR-007 maintenance; OIR-006 -> AIR-006 statutory records; OIR-008 -> AIR-008 operations. Existing office requirement identities are preserved.
Note 2 | SYN-P001 has three fictional baseline assets, two locations, two systems and two instruction references. Tests independently reset to that same baseline.
Note 3 | Dictionary applicability distinguishes AHU flow in m3/s from valve diameter in mm. Example service intervals and the 40-character import limit are fictional assumptions, never office or ISO obligations.
Note 4 | The actual receiving FM product/build, document URIs, rights, role permissions and import/create/update/retire evidence remain unverified. No CSV/COBie/native FM deliverable is claimed.
Note 5 | ISO 19650-1:2018 clause 5.3; ISO 19650-3:2020; ISO 19650-5:2020; UK BIM Framework Guidance D ed.2 (2021). Exact primary URLs are in Markdown References.

## AIR blank
AIR_ID | Revision | OIR_ID | Operational decision | Objects and classes | Requirement owner | Consumer | Fields and units | Documents | Source revision | Trigger and timing | Updater | ProfileID | Sensitivity | Retention owner and rule | Acceptance | EIR allocation | ChangeID | State

## AIR example
AIR_ID | Revision | OIR_ID | Operational decision | Objects and classes | Requirement owner | Consumer | Fields and units | Documents | Source revision | Trigger and timing | Updater | ProfileID | Sensitivity | Retention owner and rule | Acceptance | EIR allocation | ChangeID | State
AIR-007 | R01 | OIR-007 | Prioritise maintenance/replacement | AHU and VALVE; three-asset fixture | Asset-information lead | Maintenance decision owner | SYN-DICT-01 R01 | DOC-SYN-AHU01; DOC-SYN-VLV01 | OIR V0.2; SYN-ASSET01 R01 | Handover; inspection; failure; replacement | Authorised maintenance updater | SYN-FM-CSV-01 | Restricted operator | Records/legal owner selects actual schedule | All mandatory values/joins; actual receiver create/change/retire | EIR-007 operational allocation | CH-SYN-BASE01 | Draft
AIR-006 | R01 | OIR-006 | Check applicable operational permissions | Applicable facility/asset certificates | Compliance information owner | Compliance/asset decision owner | Authority/scope/conditions/expiry | Current approval evidence | BBM-STD-57 project source | Renewal or condition/code change | Authority liaison | SYN-FM-CSV-01 | Restricted authorised roles | Actual legal/records schedule | Applicable valid decision/conditions; not file existence | EIR-006 scope to allocate | CH-SYN-BASE01 | Draft
AIR-008 | R01 | OIR-008 | Restore/adjust service | Affected assets/systems/events | Operations information owner | Operator | Event/limit/source/procedure | Current controlled procedure | Operator procedure revision | Incident or operating change | Authorised operator | SYN-FM-CSV-01 | Restricted operator | Actual legal/records schedule | Affected current procedure accessible to authorised user | EIR-008 scope to allocate | CH-SYN-BASE01 | Draft

## Dictionary
PropertyID | Field | Meaning | Datatype | Unit or allowed values | Applicability | Mandatory condition | Source | Validation
P-SYN-01 | Asset_ID | Stable facility asset identity | String | Uppercase; max 40 in synthetic profile | All included assets | Always | SYN-DICT-01 R01 | Unique; never recycled
P-SYN-02 | Class | Maintainable asset class | Enum | AHU; VALVE | All included assets | Always | SYN-DICT-01 R01 | Allowed class
P-SYN-03 | Location_ID | Current location key | String | Locations key | All included assets | Always | SYN-LOC-01 R01 | Foreign key exists
P-SYN-04 | System_ID | Serving system key | String | Systems key | All included assets | Always | SYN-SYS-01 R01 | Foreign key exists
P-SYN-05 | Condition | Inspection condition | Enum | Good; Fair; Poor; Not inspected | All included assets | Per inspection exchange | Fictional operator scale R01 | Value plus source/date
P-SYN-06 | InspectionDate | Actual inspection date | Date | Export yyyy-mm-dd | Inspected assets | When Condition is not Not inspected | Inspection source | Real date and evidence
P-SYN-07 | ServiceInterval | Servicing interval | Number | Positive with ServiceUnit | All included assets | Where service plan required | Current instruction | Positive value and source
P-SYN-08 | ServiceUnit | Interval unit | Enum | month | Synthetic asset set only | With ServiceInterval | Current instruction | Explicit approved unit
P-SYN-09 | Document_ID | Current instruction key | String | Documents key | All included assets | Where operational instruction required | Document register | Current revision; authorised access
P-SYN-10 | DesignFlow_m3_s | Design airflow | Number | m3/s | AHU only | AHU selection/operating context | SYN-DESIGN01 R01 | Numeric; do not relabel L/s
P-SYN-11 | NominalDiameter_mm | Valve nominal diameter | Number | mm | VALVE only | Valve identity/maintenance context | SYN-DESIGN01 R01 | Positive numeric
P-SYN-12 | Serial | Manufacturer serial reference | String | Fictional serial in examples | Installed maintainable assets | At actual verified handover | Installed-asset evidence | Not interchangeable with Asset_ID
P-SYN-13 | Document revision | Instruction revision selected for this asset | String | Documents revision | All included assets | With Document_ID | Document register | Must match current Document_ID revision
P-SYN-14 | State | Lifecycle status | Enum | Active; Retired | All included assets | Always | Authorised lifecycle event | Retired identity/history retained
P-SYN-15 | Source revision | Provenance source baseline | String | Container/source and revision | All included assets | Always | Source register | Resolvable approved source for actual use
P-SYN-16 | Evidence status | Verification/provenance qualification | String | Explicit evidence status | All included assets | Always | Check/event evidence | Synthetic does not mean installed
P-SYN-17 | Object reference | Optional source-model locator | String | Model ID and object reference | Model-linked assets | When model link is required | Source model mapping | Distinct from stable Asset_ID; verify mapping

## Assets blank
Asset_ID | Class | Location_ID | System_ID | Condition | InspectionDate | ServiceInterval | ServiceUnit | Document_ID | Document revision | DesignFlow_m3_s | NominalDiameter_mm | Serial | State | Source revision | Evidence status | Object reference

## Assets example
Asset_ID | Class | Location_ID | System_ID | Condition | InspectionDate | ServiceInterval | ServiceUnit | Document_ID | Document revision | DesignFlow_m3_s | NominalDiameter_mm | Serial | State | Source revision | Evidence status | Object reference
AHU-001 | AHU | LOC-101 | SYS-AIR01 | Good | 2026-11-30 | 12 | month | DOC-SYN-AHU01 | R01 | 1.2 |  | SN-SYN-AHU001 | Active | SYN-ASSET01 R01 | Fictional fixture; not installed proof | SYN-MODEL01 / AHU001
VLV-001 | VALVE | LOC-101 | SYS-HW01 | Good | 2026-11-30 | 6 | month | DOC-SYN-VLV01 | R01 |  | 50 | SN-SYN-VLV001 | Active | SYN-ASSET01 R01 | Fictional fixture; not installed proof | SYN-MODEL01 / VLV001
VLV-002 | VALVE | LOC-102 | SYS-HW01 | Fair | 2026-11-30 | 6 | month | DOC-SYN-VLV01 | R01 |  | 40 | SN-SYN-VLV002 | Active | SYN-ASSET01 R01 | Fictional fixture; not installed proof | SYN-MODEL01 / VLV002

## Locations
Location_ID | Title | Facility_ID | Source revision
LOC-101 | Fictional plant space 101 | FAC-SYN-01 | SYN-LOC-01 R01
LOC-102 | Fictional service space 102 | FAC-SYN-01 | SYN-LOC-01 R01

## Systems
System_ID | Title | Facility_ID | Owner function | Source revision
SYS-AIR01 | Fictional air system | FAC-SYN-01 | Mechanical operator | SYN-SYS-01 R01
SYS-HW01 | Fictional hot-water system | FAC-SYN-01 | Mechanical operator | SYN-SYS-01 R01

## Documents
Document_ID | Revision | Title | Applies to class | Access route | Source and rights | Access test owner | Actual test
DOC-SYN-AHU01 | R01 | Fictional AHU service instruction | AHU | Project controlled document URI to populate | Fictional instruction only; actual rights pending | Operator recipient | Not executed
DOC-SYN-VLV01 | R01 | Fictional valve service instruction | VALVE | Project controlled document URI to populate | Fictional instruction only; actual rights pending | Operator recipient | Not executed

## Triggers blank
EventID | Type | Event date | Asset_IDs | AIR_ID | Updater | ExchangeID | Agreed due date | ChangeID | Receiver | Acceptance evidence

## Triggers example
EventID | Type | Event date | Asset_IDs | AIR_ID | Updater | ExchangeID | Agreed due date | ChangeID | Receiver | Acceptance evidence
EV-SYN-HO01 | Handover | 2026-12-02 | AHU-001; VLV-001; VLV-002 | AIR-007 | Delivery asset-data lead | EX-SYN-HO01 | 2026-12-02 | CH-SYN-HO01 | Operator | Not executed
EV-SYN-IN01 | Inspection | 2026-12-03 | AHU-001 | AIR-007 | Authorised maintenance updater | EX-SYN-OP01 | 2026-12-03 | CH-SYN-A01 | Operator | Not executed

## Receiving profile
ProfileID | Revision | Application and build | Format | Field convention | Units and dates | Identity and null rules | COBie selection | Security and retention | Verification
SYN-FM-CSV-01 | R01 | Not provided; Hold actual import | Fictional UTF-8 CSV profile; workbook is a form | Exact Dictionary field names; foreign keys to Locations/Systems/Documents | Explicit units; dot decimal; exported dates ISO 8601 | Asset_ID max 40 hypothetical; duplicates reject; class-inapplicable numeric nulls allowed | Not selected; only if required by appointment | Actual role/access and records schedules to approve | Not executed

## Tests
TestID | Baseline | Operation or adverse input | Expected | Method and evidence | Actual result
FM-SYN-01 | Same three active assets | Create full target row in Mutation inputs / FM-SYN-01 | Four active IDs, no overwrite | Import log; receiver query; value reconciliation | Not executed
FM-SYN-02 | Same three active assets | Apply full target row in Mutation inputs / FM-SYN-02; Poor on 2026-12-03 | Three IDs; intended values changed; history retained | Before/after query and authorised update evidence | Not executed
FM-SYN-03 | Same three active assets | Apply Retired target row in Mutation inputs / FM-SYN-03 | Two active IDs; retired identity/history retained | Inactive/history query and required document access | Not executed
FM-SYN-04 | Same three active assets | Exact adverse payload and source-unit/document/recipient qualifiers in Mutation inputs / FM-SYN-04 | Reject | Duplicate-key report; no silent overwrite | Not executed
FM-SYN-05 | Same three active assets | Exact adverse payload and source-unit/document/recipient qualifiers in Mutation inputs / FM-SYN-05 | Reject until approved conversion/source correction | Dictionary/unit comparison | Not executed
FM-SYN-06 | Same three active assets | Exact adverse payload and source-unit/document/recipient qualifiers in Mutation inputs / FM-SYN-06 | Reject | Foreign-key check | Not executed
FM-SYN-07 | Same three active assets | Exact adverse payload and source-unit/document/recipient qualifiers in Mutation inputs / FM-SYN-07 | Hold affected use | Actual recipient current-document access test | Not executed

## Mutation inputs
TestID | Operation | Asset_ID | Class | Location_ID | System_ID | Condition | InspectionDate | ServiceInterval | ServiceUnit | Document_ID | Document revision | DesignFlow_m3_s | NominalDiameter_mm | Serial | State | Source revision | Evidence status | Object reference | ChangeID | Baseline and expectation | Payload qualification | Recipient
FM-SYN-01 | Create | AHU-002 | AHU | LOC-101 | SYS-AIR01 | Good | 2026-11-30 | 12 | month | DOC-SYN-AHU01 | R01 | 1.2 |  | SN-SYN-AHU002 | Active | SYN-ASSET01 R01 | Fictional fixture; not installed proof | SYN-MODEL01 / AHU002 | CH-SYN-CREATE01 | Reset to three assets; expect four active | Full target values; compare unchanged fields and retain prior history | Operator recipient
FM-SYN-02 | Change | AHU-001 | AHU | LOC-101 | SYS-AIR01 | Poor | 2026-12-03 | 12 | month | DOC-SYN-AHU01 | R01 | 1.2 |  | SN-SYN-AHU001 | Active | SYN-INSPECTION01 R01 | Fictional fixture; not installed proof | SYN-MODEL01 / AHU001 | CH-SYN-A01 | Reset to three assets; expect three active; previous values/history retained | Full target values; compare unchanged fields and retain prior history | Operator recipient
FM-SYN-03 | Retire | VLV-002 | VALVE | LOC-102 | SYS-HW01 | Fair | 2026-11-30 | 6 | month | DOC-SYN-VLV01 | R01 |  | 40 | SN-SYN-VLV002 | Retired | SYN-RETIRE01 R01 | Fictional fixture; not installed proof | SYN-MODEL01 / VLV002 | CH-SYN-RET01 | Reset to three assets; expect two active; retired row/history retained | Full target values; compare unchanged fields and retain prior history | Operator recipient
FM-SYN-04 | Adverse | AHU-001 | AHU | LOC-101 | SYS-AIR01 | Good | 2026-11-30 | 12 | month | DOC-SYN-AHU01 | R01 | 1.2 |  | SN-SYN-AHU001 | Active | SYN-ASSET01 R01 | Fictional fixture; not installed proof | SYN-MODEL01 / AHU001 | CH-SYN-TEST01 | Reject duplicate AHU-001; unchanged three-asset baseline | Second create request for existing Asset_ID; not an authorised change | Operator recipient
FM-SYN-05 | Adverse | AHU-001 | AHU | LOC-101 | SYS-AIR01 | Good | 2026-11-30 | 12 | month | DOC-SYN-AHU01 | R01 | 1200 |  | SN-SYN-AHU001 | Active | SYN-ASSET01 R01 | Fictional fixture; not installed proof | SYN-MODEL01 / AHU001 | CH-SYN-TEST01 | Reject until approved conversion and mapped source; no silent relabel | Payload DesignFlow_m3_s=1200; source-unit metadata L/s; target requires m3/s. 1200 L/s equals 1.2 m3/s only through explicit approved conversion | Operator recipient
FM-SYN-06 | Adverse | AHU-001 | AHU | LOC-999 | SYS-AIR01 | Good | 2026-11-30 | 12 | month | DOC-SYN-AHU01 | R01 | 1.2 |  | SN-SYN-AHU001 | Active | SYN-ASSET01 R01 | Fictional fixture; not installed proof | SYN-MODEL01 / AHU001 | CH-SYN-TEST01 | Reject nonexistent Location_ID; baseline unchanged | All other fields unchanged; LOC-999 absent from Locations | Operator recipient
FM-SYN-07 | Adverse | AHU-001 | AHU | LOC-101 | SYS-AIR01 | Good | 2026-11-30 | 12 | month | DOC-SYN-AHU01 | R01 | 1.2 |  | SN-SYN-AHU001 | Active | SYN-ASSET01 R01 | Fictional fixture; not installed proof | SYN-MODEL01 / AHU001 | CH-SYN-TEST01 | Hold affected operational use | Required DOC-SYN-AHU01 R01 denied to Operator recipient; also repeat with missing file and R00 superseded document | Operator recipient