## Read me
Field | Instruction
Document | BBM-STD-54-EIR_AND_LOIN-V0.1
State | Private WIP template for office review and adoption
Examples | SYN-P001 is fictional. All role IDs, dates and evidence tokens in examples are synthetic.
Use | Copy blank tables into the restricted project register. Replace synthetic particulars and obtain actual authority before activation.
Inputs | Amber blank rows are editable. Dropdowns are prompts; validate required fields and joins before release.
Authority | A cell is not an appointment, permit, signed licence or receiving-system test.
Revision | Template V0.1. Project records use Rnn with stable IDs, source revisions and ChangeID.
Note 1 | EIR-011 delivery parent/children preserve EIR-SYN-03-M01/02/03 aliases and exact LOIN/delivery/producer/checker rows. EIR-007 operational scope stays separate.
Note 2 | The full Design payload is synthetic; all 16 fields have dictionary definitions. Geometry/profile/build/access/hash evidence is Not executed. No native IFC/model or receiving acceptance is claimed.
Note 3 | Three independent products and five format variants use common SYN-MODEL01 R01. Extend initial filters/formatting when adding rows; dropdowns do not enforce required fields/joins.
Note 4 | Current R01 fixture is CH-SYN-BASE01; simulated accepted CH-SYN-EIR01 propagation does not modify existing office BEP/MIDP/TIDP. Actual authority and recipient receipts are required.
Note 5 | ISO 7817-1:2024 is current researched concepts basis; BS EN17412-1:2020 predecessor is not silently substituted in an existing appointment. Exact references are in Markdown.

## Tender blank
AppointmentID | Revision | Parties and authority | Scope and exclusions | Requirement IDs | Standards revisions | Methods and CDE | Clarify by | Respond by | Submit by | Review by | Security rights retention | Response requirements | Acceptance route | State

## Tender example
AppointmentID | Revision | Parties and authority | Scope and exclusions | Requirement IDs | Standards revisions | Methods and CDE | Clarify by | Respond by | Submit by | Review by | Security rights retention | Response requirements | Acceptance route | State
SYN-APP01 | R01 | SYN-AP01 appointing; SYN-LAP01 submission; fictional only | Replacement design mechanical; no fabrication/operation/permit | EIR-011-G; EIR-011-A; EIR-011-D | Office51/52/53/55V0.1; BEPV0.3; MIDP/TIDPV0.2; ISOeditions perMD | Eight-token naming; SU-REVIEW submission; restrictedCDE actual URI pending | 2026-10-20 | 2026-10-23 | 2026-11-26 | 2026-12-01 | Actual assessment/licences/records owner pending; Hold activation | Per child Conform/Clarification/Deviation; method/resources/evidence | SYN-RR01 recommends; SYN-AP01 accepts information; project decision separate | Draft

## EIR blank
RequirementID | Parent EIR | Revision | PIR_ID | OIR_ID | AIR interface | Purpose | ExchangeID | MilestoneID | TIDP row | Existing alias | LOIN_ID | Producer | Checker | Authoriser | Recipient reviewer | Acceptance function | Submit by | Review by | ProfileID | Security and use | Acceptance tests | ChangeID | State

## EIR example
RequirementID | Parent EIR | Revision | PIR_ID | OIR_ID | AIR interface | Purpose | ExchangeID | MilestoneID | TIDP row | Existing alias | LOIN_ID | Producer | Checker | Authoriser | Recipient reviewer | Acceptance function | Submit by | Review by | ProfileID | Security and use | Acceptance tests | ChangeID | State
EIR-011-G | EIR-011 | R01 | PIR-007 | OIR-007 | AIR-007 separate operator ownership | Spatial/access coordination | EX-SYN-03 | DEL-SYN-ME01 | ME-01 | EIR-SYN-03-M01 | LOIN-SYN-ME01 | SYN-MA01 | SYN-MC01 | SYN-LAP01 | SYN-RR01 | SYN-AP01 | 2026-11-26 | 2026-12-01 | SYN-X01 | Restricted project review; no fabrication/operation | RX-01; RX-02; RX-03; RX-04; RX-07; RX-09 | CH-SYN-BASE01 | Draft
EIR-011-A | EIR-011 | R01 | PIR-007 | OIR-007 | AIR-007 separate operator ownership | Equipment selection/service-planning review | EX-SYN-03 | DEL-SYN-ME02 | ME-02 | EIR-SYN-03-M02 | LOIN-SYN-ME02 | SYN-MA02 | SYN-MC02 | SYN-LAP01 | SYN-RR01 | SYN-AP01 | 2026-11-26 | 2026-12-01 | SYN-X02 | Restricted project review; no fabrication/operation | RX-04; RX-05; RX-06; RX-07; RX-09 | CH-SYN-BASE01 | Draft
EIR-011-D | EIR-011 | R01 | PIR-007 | OIR-007 | AIR-007 separate operator ownership | Design-basis/access decision | EX-SYN-03 | DEL-SYN-ME03 | ME-03 | EIR-SYN-03-M03 | LOIN-SYN-ME03 | SYN-MA03 | SYN-MC03 | SYN-LAP01 | SYN-RR01 | SYN-AP01 | 2026-11-26 | 2026-12-01 | SYN-X03 | Restricted project review; no fabrication/operation | RX-03; RX-08; RX-09 | CH-SYN-BASE01 | Draft

## LOIN blank
LOIN_ID | Revision | RequirementID | Purpose | Time and exchange | Producer and reviewer | Objects and discipline | Geometry | Alphanumeric information | Documentation | ProfileID | Dictionary | Exclusions | Acceptance TestIDs

## LOIN example
LOIN_ID | Revision | RequirementID | Purpose | Time and exchange | Producer and reviewer | Objects and discipline | Geometry | Alphanumeric information | Documentation | ProfileID | Dictionary | Exclusions | Acceptance TestIDs
LOIN-SYN-ME01 | R01 | EIR-011-G | Spatial/access coordination | EX-SYN-03 / submit2026-11-26 / review2026-12-01 | SYN-MA01; SYN-MC01; SYN-RR01 | Mechanical Z01/L01; AHU-001; VLV-001; VLV-002 and interfaces | Located extents/routes/insulation/connections/support interfaces; 600 mm task envelope; SYN-CRS01 | Stable GUID/Asset_ID; type/system/location; three maintainable IDs | Native/IFC manifest; known-values/counts; hard/access/interface outcomes; design note | SYN-X01 | SYN-X02 R01 / AIR identity meanings | Fabrication, proprietary internals, render textures, installed condition | RX-01; RX-02; RX-03; RX-04; RX-07; RX-09
LOIN-SYN-ME02 | R01 | EIR-011-A | Equipment selection/service-planning review | EX-SYN-03 / submit2026-11-26 / review2026-12-01 | SYN-MA02; SYN-MC02; SYN-RR01 | Mechanical Z01/L01; AHU-001; VLV-001; VLV-002 and interfaces | No new geometry; exact source-model GUID/location link | Every applicable Design payload field per Dictionary | CSV/PDF same snapshot; key/count/value reconciliation | SYN-X02 | SYN-X02 R01 / AIR identity meanings | Fabrication, proprietary internals, render textures, installed condition | RX-04; RX-05; RX-06; RX-07; RX-09
LOIN-SYN-ME03 | R01 | EIR-011-D | Design-basis/access decision | EX-SYN-03 / submit2026-11-26 / review2026-12-01 | SYN-MA03; SYN-MC03; SYN-RR01 | Mechanical Z01/L01; AHU-001; VLV-001; VLV-002 and interfaces | Dimensioned critical viewpoints tied to model R01 | Requirement/source revision; assumptions/uncertainty; residual-risk owner/date; changed interfaces | Technical note; evidence and issue index/dispositions; accessible current sources | SYN-X03 | SYN-X02 R01 / AIR identity meanings | Fabrication, proprietary internals, render textures, installed condition | RX-03; RX-08; RX-09

## Profiles
ProfileID | Revision | Product | Format and schema | Field and unit rule | Source and coordinates | Actual product build | Receiver build | Preset or configuration | Verification
SYN-X01 | R01 | ME-01 | Native .rvt + IFC4.3.2.0 building coordination | Model mm; flow m3/s; diameter mm; mappings per Design payload | SYN-MODEL01 R01; SYN-CRS01 | Unverified | Unverified | Exporter/preset to test | Not executed
SYN-X02 | R01 | ME-02 | UTF-8 CSV comma/quoted strings + PDF same snapshot | Exact Dictionary order/names; dot decimal; class-inapplicable nulls | SYN-MODEL01 R01 | Unverified | Unverified | CSV field mapping R01; actual export test pending | Not executed
SYN-X03 | R01 | ME-03 | PDF + linked issue records; actual issue schema to select | Note fields per Evidence checklist; units explicit | SYN-MODEL01 R01; SYN-REQ-A01 R01 | Unverified | Unverified | PDF/issue/access route to test | Not executed

## Dictionary
Order | Field | Meaning | Datatype | Unit or allowed values | Applicability | Validation | Mapping revision
1 | Asset_ID | Stable asset key | String | Uppercase registered ID | All | Unique; matches AIR fixture | SYN-X02 R01
2 | Class | Maintainable class | Enum | AHU; VALVE | All | Class applicability | SYN-X02 R01
3 | Type | Selected design type | String | Synthetic type register | All | Approved source/type | SYN-X02 R01
4 | System_ID | System relationship | String | Systems key | All | Foreign key | SYN-X02 R01
5 | Location_ID | Location relationship | String | Locations key | All | Foreign key | SYN-X02 R01
6 | Native_GUID | Native model locator | UUID string | Synthetic UUID syntax | All model-linked | Unique; exact model mapping; native test pending | SYN-X02 R01
7 | IFC_GlobalId | IFC object locator | String | 22-character synthetic IFC ID | All model-linked | Unique; exact native/IFC mapping; export test pending | SYN-X02 R01
8 | DesignFlow_m3_s | Design airflow | Number | m3/s | AHU only | Mandatory AHU; positive numeric; valve N/A | SYN-X02 R01
9 | NominalDiameter_mm | Valve nominal diameter | Number | mm | VALVE only | Mandatory valve; positive numeric; AHU N/A | SYN-X02 R01
10 | AccessNeed_mm | Selected withdrawal need | Number | mm | AHU selected task only | 600 from SYN-REQ-A01 R01; valve N/A for this task | SYN-X02 R01
11 | Document_ID | Instruction reference | String | Documents key | All | Current accessible document | SYN-X02 R01
12 | Document_revision | Instruction revision | String | Documents revision | With Document_ID | ID/revision join | SYN-X02 R01
13 | Source_ID | Design/requirement provenance | String | Sources key | All | Current scoped source | SYN-X02 R01
14 | Source_revision | Source revision | String | Sources revision | With Source_ID | Exact current source baseline | SYN-X02 R01
15 | Model_ID | Source model | String | SYN-MODEL01 | All | One source snapshot | SYN-X02 R01
16 | Model_revision | Model revision | String | R01 fixture | All | No derived variant drift | SYN-X02 R01

## Design payload
Asset_ID | Class | Type | System_ID | Location_ID | Native_GUID | IFC_GlobalId | DesignFlow_m3_s | NominalDiameter_mm | AccessNeed_mm | Document_ID | Document_revision | Source_ID | Source_revision | Model_ID | Model_revision
AHU-001 | AHU | SYN-AHU-T01 | SYS-AIR01 | LOC-101 | 00000000-0000-4000-8000-000000000001 | 0000000000000000000001 | 1.2 |  | 600 | DOC-SYN-AHU01 | R01 | SYN-REQ-A01 | R01 | SYN-MODEL01 | R01
VLV-001 | VALVE | SYN-VLV-T01 | SYS-HW01 | LOC-101 | 00000000-0000-4000-8000-000000000002 | 0000000000000000000002 |  | 50 |  | DOC-SYN-VLV01 | R01 | SYN-DESIGN01 | R01 | SYN-MODEL01 | R01
VLV-002 | VALVE | SYN-VLV-T02 | SYS-HW01 | LOC-102 | 00000000-0000-4000-8000-000000000003 | 0000000000000000000003 |  | 40 |  | DOC-SYN-VLV01 | R01 | SYN-DESIGN01 | R01 | SYN-MODEL01 | R01

## Related keys
Kind | ID | Revision | Scope or title | Actual access or verification
Location | LOC-101 | R01 | FAC-SYN-01 / plant space 101 | Fictional
Location | LOC-102 | R01 | FAC-SYN-01 / service space 102 | Fictional
System | SYS-AIR01 | R01 | FAC-SYN-01 / air system | Fictional
System | SYS-HW01 | R01 | FAC-SYN-01 / hot water | Fictional
Document | DOC-SYN-AHU01 | R01 | Fictional AHU instruction | Not executed
Document | DOC-SYN-VLV01 | R01 | Fictional valve instruction | Not executed
Source | SYN-REQ-A01 | R01 | 600 mm selected withdrawal requirement | Not executed
Source | SYN-DESIGN01 | R01 | Fictional design flow/valve sources | Not executed
Model | SYN-MODEL01 | R01 | Common native/export/CSV/note snapshot | Not executed
Coordinates | SYN-CRS01 | R01 | Local (0,0,0); right-handed east/north/up; mm; no geodetic tie | Not executed

## Evidence checklist
EvidenceID | RequirementID | Required fields or evidence | Source baseline | Producer | Checker | Recipient test | Actual
EV-EIR-01 | EIR-011-G | Source/native/export hashes; three GUID/assetmappings; knownpoint/count/value; hard/access/interface results | SYN-MODEL01 R01; SYN-X01 R01 | SYN-MA01 | SYN-MC01 | RX-01/02/03/04/07/09 | Not executed
EV-EIR-02 | EIR-011-A | All applicable Dictionary fields; valid N/A; CSV/PDF same source/hash mapping | SYN-X02 R01; SYN-MODEL01 R01 | SYN-MA02 | SYN-MC02 | RX-04/05/06/07/09 | Not executed
EV-EIR-03 | EIR-011-D | SYN-REQ-A01 R01; dimension/uncertainty; assumptions; residual risk ID/owner/action date; changed interfaces; issue dispositions; current links | SYN-MODEL01 R01; SYN-X03 R01 | SYN-MA03 | SYN-MC03 | RX-03/08/09 | Not executed

## Manifest blank
ExchangeID | DeliveryID | ContainerID | Extension | Source model revision | Variant revision | Source hash | File hash | Authoriser | Recipient receipt

## Manifest example
ExchangeID | DeliveryID | ContainerID | Extension | Source model revision | Variant revision | Source hash | File hash | Authoriser | Recipient receipt
EX-SYN-03 | DEL-SYN-ME01 | CLI-OFF-P001-Z01-L01-M3-M-0001 | .rvt | SYN-MODEL01 R01 | R01 | Not executed | Not executed | SYN-LAP01 | Not executed
EX-SYN-03 | DEL-SYN-ME01 | CLI-OFF-P001-Z01-L01-M3-M-0001 | .ifc | SYN-MODEL01 R01 | R01 | Not executed | Not executed | SYN-LAP01 | Not executed
EX-SYN-03 | DEL-SYN-ME02 | CLI-OFF-P001-Z01-L01-SH-M-0002 | .csv | SYN-MODEL01 R01 | R01 | Not executed | Not executed | SYN-LAP01 | Not executed
EX-SYN-03 | DEL-SYN-ME02 | CLI-OFF-P001-Z01-L01-SH-M-0002 | .pdf | SYN-MODEL01 R01 | R01 | Not executed | Not executed | SYN-LAP01 | Not executed
EX-SYN-03 | DEL-SYN-ME03 | CLI-OFF-P001-Z01-L01-RP-M-0003 | .pdf | SYN-MODEL01 R01 | R01 | Not executed | Not executed | SYN-LAP01 | Not executed

## Response blank
ResponseID | RequirementID | Position | Method and evidence proposal | Clarification or deviation ID | Owner | Decision and evidence | State

## Response example
ResponseID | RequirementID | Position | Method and evidence proposal | Clarification or deviation ID | Owner | Decision and evidence | State
RESP-SYN-G | EIR-011-G | Clarification | Native/IFC method proposed; selected receiver build/exporter support unverified | CL-SYN-01 | SYN-LAP01 | Hold actual commitment pending test | Hold
RESP-SYN-A | EIR-011-A | Conform | Dictionary CSV/PDF snapshots and fullfieldcomparison proposed |  | SYN-LAP01 | In principle fictional response only; actual approval pending | Open
RESP-SYN-D | EIR-011-D | Deviation | Omit current source/access note | DEV-SYN-01 | SYN-LAP01 | Rejected in fictionalexercise; restore required note | Rejected

## Change propagation
ChangeID | Decision record | Affected record | Current baseline | Proposed baseline | Impact | Notice recipient | Actual acknowledgment | State
CH-SYN-EIR01 | SYN-DEC-EIR01 simulated accepted only | EIR-011-D / LOIN-SYN-ME03 / SYN-X03 / EV-EIR-03 | R01 | R02 | Add source-review responsibility to evidence index; reassess tasks/checks/date impact | SYN-MA03; SYN-MC03 | Not executed | Simulated
CH-SYN-EIR01 | SYN-DEC-EIR01 simulated accepted only | Project BEP methods/responsibilities | R01 | R02 | Add source-review responsibility to evidence index; reassess tasks/checks/date impact | SYN-LAP01; SYN-IM01 | Not executed | Simulated
CH-SYN-EIR01 | SYN-DEC-EIR01 simulated accepted only | TIDP ME-01/02/03 interfaces | R01 | R02 | Add source-review responsibility to evidence index; reassess tasks/checks/date impact | SYN-MA01; SYN-MA02; SYN-MA03 | Not executed | Simulated
CH-SYN-EIR01 | SYN-DEC-EIR01 simulated accepted only | MIDP DEL-SYN-ME01/02/03 / EX-SYN-03 | R01 | R02 | Add source-review responsibility to evidence index; reassess tasks/checks/date impact | SYN-LAP01; SYN-RR01 | Not executed | Simulated

## Recipient tests
TestID | RequirementID | Exact input or mutation | Method and evidence | Expected | Recipient | Actual result | Source hash | Submitted file or manifest hashes | Receiving application and full build | Operator identity | Execution date | Evidence reference | Review or acceptance record
RX-01 | EIR-011-G | SYN-X01 IFC4.3.2.0 + native source R01 | Open in selected recipient build; schema/export/profile log | Hold until actual supported build/preset test; then all profile checks pass | SYN-RR01 | Not executed | Not executed | Not executed | Not executed | Not executed |  | Not executed | Not executed
RX-02 | EIR-011-G | SYN-CRS01 local origin (0,0,0); east/north/up; mm; three mapped IDs | Compare known points/units/source transform; hard/access/interface rules | Exact approved coordinate/known-value mapping; no unresolved applicable conflict | SYN-RR01 | Not executed | Not executed | Not executed | Not executed | Not executed |  | Not executed | Not executed
RX-03 | EIR-011-G; EIR-011-D | Clear 650 +/-10; envelope 600; source SYN-REQ-A01 R01. Negative 605 +/-10 | Check lower bound and source/geometry evidence; 650-10=640;605-10=595 | Positive criterion expected pass; negative fail; unknown uncertainty Hold | SYN-RR01 | Not executed | Not executed | Not executed | Not executed | Not executed |  | Not executed | Not executed
RX-04 | EIR-011-G; EIR-011-A | Full Design payload three rows; mappings/foreign keys | Compare every applicable field model/export/CSV/PDF; exact ID sets and counts | Three unique matching IDs; no broken reference or value drift | SYN-RR01 | Not executed | Not executed | Not executed | Not executed | Not executed |  | Not executed | Not executed
RX-05 | EIR-011-A | Copy AHU-001 payload, blank DesignFlow_m3_s; rest unchanged | Dictionary mandatory/applicability check | Reject; valve flow null remains valid N/A | SYN-RR01 | Not executed | Not executed | Not executed | Not executed | Not executed |  | Not executed | Not executed
RX-06 | EIR-011-A | Copy AHU-001, DesignFlow_m3_s=1200; source unit L/s; target m3/s | Unit metadata versus dictionary; require approved conversion/source mapping | Reject implicit relabel; explicit 1200 L/s=1.2 m3/s only after approval | SYN-RR01 | Not executed | Not executed | Not executed | Not executed | Not executed |  | Not executed | Not executed
RX-07 | EIR-011-G; EIR-011-A | Duplicate AHU-001; or change AHU native GUID suffix001 to099 only in CSV | Uniqueness/exact cross-product mapping | Reject duplicate or mismatched mapping even if count 3 | SYN-RR01 | Not executed | Not executed | Not executed | Not executed | Not executed |  | Not executed | Not executed
RX-08 | EIR-011-D | DOC-SYN-AHU01 R01 denied to SYN-RR01; or SYN-REQ-A01 R00 superseded; outside party denied | Actual recipient current-link and denied-access tests; complete Evidence checklist | Hold required inaccessible/superseded source; allow only authorised recipient | SYN-RR01 | Not executed | Not executed | Not executed | Not executed | Not executed |  | Not executed | Not executed
RX-09 | EIR-011-G; EIR-011-A; EIR-011-D | Manifest variants R01 common SYN-MODEL01; adverse IFC R02 with CSV/PDF R01 | Exact source/export revision/hash reconciliation and receiver receipt | Reject drift; all five variants match approved snapshot and current evidence | SYN-RR01 | Not executed | Not executed | Not executed | Not executed | Not executed |  | Not executed | Not executed

## Type register
Type_ID | Class | Fictional meaning | Source_ID | Source_revision | Applicability
SYN-AHU-T01 | AHU | Fictional selected air-handling unit type | SYN-DESIGN01 | R01 | AHU-001
SYN-VLV-T01 | VALVE | Fictional 50 mm valve type | SYN-DESIGN01 | R01 | VLV-001
SYN-VLV-T02 | VALVE | Fictional 40 mm valve type | SYN-DESIGN01 | R01 | VLV-002

## Note example
NoteID | RequirementID | Model source | Requirement source | AssumptionID and statement | Uncertainty source and value | Dimension and expected result | Residual risk ID and description | Risk owner | Action date | Changed interface | Issue and fictional disposition | Required source access | Actual evidence
NOTE-SYN-ME03 | EIR-011-D | SYN-MODEL01 R01 | SYN-REQ-A01 R01 / DOC-SYN-AHU01 R01 | ASM-SYN-01: proposed design geometry only; no installed/survey verification | SYN-MEASURE01 R01: bounded +/-10 mm fictional | Clear 650 mm; lower 640 >= required600; expected criterion pass only | RS-SYN-01: manufacturer instruction may change after this baseline; monitor source and reassess affected envelope | SYN-MA03 | 2026-11-25 | IF-SYN-MAINT01: AHU withdrawal envelope and adjacent architectural/structural route interfaces | ISS-SYN-01: fictional design disposition retains 600 mm envelope; proposed clear650. Competent check/access/interface evidence still needed before actual acceptance | SYN-RR01 expected current source links allowed; unauthorised external role expected denied; no live URI/access proof | Not executed; all values are synthetic specification