## Read me
Item | Instruction
Control | BBM-STD-67-DRAWINGS_AND_SHEETS-V0.1 ¦ 2026-10-16 ¦ Private WIP draft; office approval pending
Use | Duplicate the blank forms into the controlled project record; retain IDs and enter actual holders/evidence. Populated rows are synthetic unless explicitly labelled Observed source.
Authority | Producer, independent checker, authoriser and accepting recipient are separate decisions. All actual native and receiver tests start Not executed.
Evidence | Capture source/build/profile/units, input and output SHA-256, operator/date, result and evidence URI. A dropdown does not enforce release.
Blank forms | Blank-prefixed tabs share the populated schema and controls. Extend filters and validation beyond row 1001 if needed.
Sources | See the standard References and Sources tab; no credentials, real client data or operative legal terms.
Change | One ChangeID propagates dictionary/profile/BEP/TIDP/MIDP impacts before affected use. Retain superseded records.

## Drawing index
SheetNumber | Title | Discipline zone level | Logical ContainerID | Revision | Date | Suitability and CDE state | Source snapshot
A-01-001 | General Notes And Index | ARC; Z01; L01 | CLI-OFF-P001-Z01-L01-DR-A-0001 | R01 | 2026-10-16 | SU-REVIEW; WIP | SYN-RVT67 R01; exact hash pending
A-10-101 | Level01 General Arrangement Plan | ARC; Z01; L01 | CLI-OFF-P001-Z01-L01-DR-A-0002 | R01 | 2026-10-16 | SU-REVIEW; WIP | SYN-RVT67 R01; exact hash pending
A-20-201 | Section Through Room | ARC; Z01; L01 | CLI-OFF-P001-Z01-L01-DR-A-0003 | R01 | 2026-10-16 | SU-REVIEW; WIP | SYN-RVT67 R01; exact hash pending
A-50-501 | Door Schedule | ARC; Z01; L01 | CLI-OFF-P001-Z01-L01-DR-A-0004 | R01 | 2026-10-16 | SU-REVIEW; WIP | SYN-RVT67 R01; exact hash pending

## Blank Drawing index
SheetNumber | Title | Discipline zone level | Logical ContainerID | Revision | Date | Suitability and CDE state | Source snapshot

## Title fields
FieldID | Synthetic value | Revit destination | DWG attribute | Authoritative source | Definition or evidence state | Applicability
ProjectCode | SYN-P001 | Project Information approved project code | ProjectCode | Project register | Actual custom definition pending | Required
ProjectTitle | Synthetic Office Fixture | Project Information Project Name | ProjectTitle | Project register | No real client | Required
SheetNumber | A-10-101 | Built-in Sheet Number | SheetNumber | Drawing index | Built-in; no invented shared GUID | Required
SheetTitle | Level01 General Arrangement Plan | Built-in Sheet Name | SheetTitle | Drawing index | Built-in | Required
Discipline | ARC | Controlled sheet shared definition | Discipline | Drawing index | BA72 reconciliation pending | Required
ZoneLevel | Z01 / L01 | Controlled sheet shared definitions | Zone;Level | Drawing index | BA72 reconciliation pending | Where applicable
Scale | 1:100 | Native scale label; As indicated if mixed | Scale | Placed views | No manually false scale | Required
Revision | R01 | Native revision schedule/current revision | Revision | Approved issue register | No false all-sheet revision increment | Required
IssueDate | 2026-10-16 | Controlled revision date | IssueDate | Issue register | ISO8601 | Required
Suitability | SU-REVIEW | Controlled sheet/shared metadata | Suitability | Permitted-use record | Fixture only; no issue approval | Required
DesignedBy | SYN-AUTHOR67 | Controlled sheet shared definition | DesignedBy | Role/delegation record | Synthetic role; actual definition/holder pending | Required
CheckedBy | SYN-CHECK67 | Controlled sheet shared definition | CheckedBy | Independent check record | Synthetic role; actual evidence pending | Required
ApprovedBy | Pending | Controlled sheet shared definition | ApprovedBy | Authorisation record | No invented signature/approval | Required before issue
ContainerID | CLI-OFF-P001-Z01-L01-DR-A-0002 | Controlled sheet shared definition | ContainerID | BA51 drawing index | BA72 definition pending | Required

## Blank Title fields
FieldID | Synthetic value | Revit destination | DWG attribute | Authoritative source | Definition or evidence state | Applicability

## References
ReferenceID | Source sheet and view | Target sheet and view | Reference kind | Zone level and revision | Expected direction or content | Checker and evidence | State
REF67-01 | A-10-101 / V-PLAN67 | A-20-201 / V-SEC67 | Section1 | Z01 L01 R01 | Section bubble resolves to same room and3m height | Not executed | Hold
REF67-02 | A-20-201 / V-SEC67 | A-10-101 / V-PLAN67 | Back reference | Z01 L01 R01 | Plan target is current and section position agrees | Not executed | Hold

## Blank References
ReferenceID | Source sheet and view | Target sheet and view | Reference kind | Zone level and revision | Expected direction or content | Checker and evidence | State

## Asset specs
AssetID and revision | Kind and content | Owner | Native mapping dependencies | Preset or source hash | TestIDs | Release evidence | State
SYN-TB67-A1 R01 | TITLEBLOCK-A1;841x594mm landscape; fields per Title fields | Documentation lead | Revit shared/builtin +DWG attributes; BA72; fonts | Not created | T67-01/02 | Not executed | Hold
SYN-ANNOT67 R01 | Manual arrows/text/symbol/legend;>=2.5mm fixture text | Documentation lead | Manual4; BA66 styles; SYN-DOOR67; SYN-SPEC67 | Not created | T67-03/04 | Not executed | Hold
SYN-SHT67-VALID R01 | Layout coordinates in MD3; plan/section/schedule/index | Discipline lead | Drawing index; Title fields; References; SYN-RVT67 | Not created | T67-01..06 | Not executed | Hold
SYN-PDF67 R01 | PDF per Output profiles | Production lead | SYN-TB67-A1; fonts; view assets; authoring build | Not created | T67-05/06 | Not executed | Hold

## Blank Asset specs
AssetID and revision | Kind and content | Owner | Native mapping dependencies | Preset or source hash | TestIDs | Release evidence | State

## Schedules legends
RecordID | Source snapshot | Elements or code | Fields and expected value | Unit or meaning | Filter and itemisation | Specification or legend link | State
SYN-DOOR67 R01 | SYN-RVT67 R01 | One D-SYN-01 | Mark D-SYN-01;Width900;Height2100 | mm | Placed door only; itemised count1 | Tag D-SYN-01; no override | Draft
SYN-KEY67 R01 | SYN-RVT67 R01 | Keynote10.20.30 | Controlled fictional detail/spec note | No performance claim | One canonical note and legend | SYN-SPEC67 section10.20.30 R01; text-only fixture | Draft

## Blank Schedules legends
RecordID | Source snapshot | Elements or code | Fields and expected value | Unit or meaning | Filter and itemisation | Specification or legend link | State

## Output profiles
ProfileID and revision | Native source and assets | Exporter driver full build | Format preset and hash | Media scale and switches | Font route and rights | Receiver build and checks | State
SYN-PDF67 R01 | SYN-RVT67 R01; TB/annotation hashes pending | Not verified | PDF version/vector/raster/preset/hash pending | A1 landscape841x594; no Fit; per-sheet file; actual margins checked before use | Embed permitted fonts; approved substitute only with glyph comparison | Not verified; fullsheet+ninetiles+criticaldetails;100mm bar | Hold
SYN-DWG67 R01 | Same snapshot as PDF; BA66 maps | Not verified | Exact DWG version/preset/hash pending | SYN-CAD66 R01; SYN-PLOT66 R01; modelmm1:1 | Qualified font/resource package only | Not verified; isolated clean open, geometry/property/xref comparison | Hold

## Blank Output profiles
ProfileID and revision | Native source and assets | Exporter driver full build | Format preset and hash | Media scale and switches | Font route and rights | Receiver build and checks | State

## Variants
SheetNumber | ContainerID | Variant | Source revision | ProfileID | Output SHA-256 | Page count or open evidence | State
A-01-001 | CLI-OFF-P001-Z01-L01-DR-A-0001 | pdf | R01 | SYN-PDF67 R01 | Not created | Not executed | Hold
A-01-001 | CLI-OFF-P001-Z01-L01-DR-A-0001 | dwg | R01 | SYN-DWG67 R01 | Not created | Not executed | Hold
A-10-101 | CLI-OFF-P001-Z01-L01-DR-A-0002 | pdf | R01 | SYN-PDF67 R01 | Not created | Not executed | Hold
A-10-101 | CLI-OFF-P001-Z01-L01-DR-A-0002 | dwg | R01 | SYN-DWG67 R01 | Not created | Not executed | Hold
A-20-201 | CLI-OFF-P001-Z01-L01-DR-A-0003 | pdf | R01 | SYN-PDF67 R01 | Not created | Not executed | Hold
A-20-201 | CLI-OFF-P001-Z01-L01-DR-A-0003 | dwg | R01 | SYN-DWG67 R01 | Not created | Not executed | Hold
A-50-501 | CLI-OFF-P001-Z01-L01-DR-A-0004 | pdf | R01 | SYN-PDF67 R01 | Not created | Not executed | Hold
A-50-501 | CLI-OFF-P001-Z01-L01-DR-A-0004 | dwg | R01 | SYN-DWG67 R01 | Not created | Not executed | Hold

## Blank Variants
SheetNumber | ContainerID | Variant | Source revision | ProfileID | Output SHA-256 | Page count or open evidence | State

## Specimens
SpecimenID | Baseline and mutation | Index title revision | Geometry and output expectation | Cross reference and data | Expected disposition | Actual result | State
SYN-SHT67-VALID R01 | Baseline MD3 layout coordinates | A-10-101 / R01 / Z01 L01; source SYN-RVT67 R01 | A1; plan1:100; room6x4m->60x40mm;100mm calibration | REF67-01/02; door D-SYN-01 matches schedule | Eligible only after all actual native/output checks; no preclaimed pass | Not executed | Draft
SYN-SHT67-BAD01 | Independently duplicate A-10-101 and stale R00 title | Index R01 vs title R00 | Otherwise unchanged | Duplicate identity | Reject; reconcile unique number/revision | Not executed | Draft
SYN-SHT67-BAD02 | Independently scale1:50 labelled1:100 and remove A-20-201 target | Baseline otherwise unchanged | Room prints120x80mm vs expected60x40 | REF67-01 orphan | Reject; restore scale and reference target | Not executed | Draft
SYN-SHT67-BAD03 | Independently substitute font and clip right edge | Baseline otherwise unchanged | Missing glyph or title edge clipped | Legend/title unreadable | Reject; restore qualified fonts/margins and rerender | Not executed | Draft

## Blank Specimens
SpecimenID | Baseline and mutation | Index title revision | Geometry and output expectation | Cross reference and data | Expected disposition | Actual result | State

## Signing
OutputID | Required authority profile | Signatory and delegation | Certificate verification and time | Before and signed hashes | Signature scope | Receiver verification | State
SYN-OUT67 | Applicability pending; no signature applied | Actual authorised holder pending | Not executed | Not created | Pending actual requirement | Not executed | Hold

## Blank Signing
OutputID | Required authority profile | Signatory and delegation | Certificate verification and time | Before and signed hashes | Signature scope | Receiver verification | State

## Tests
TestID | Input and fault | Method and expected result | Source and profile | Actual result | Operator and date | Input SHA-256 | Output SHA-256 | Evidence URI | Reviewer and disposition
T67-01 | Index container title reconciliation | All4index sheets and8variants match numbers titles R01 source snapshot; duplicates/stale title fail | SYN-SHT67-VALID R01; exact Source/Output profiles and hashes required | Not executed
T67-02 | Title block native mapping and references | All applicable Title fields resolve same values in Revit/DWG; custom GUIDs qualified; REF67-01/02 targets valid | SYN-SHT67-VALID R01; exact Source/Output profiles and hashes required | Not executed
T67-03 | Composition and physical scale | MD3 regions/margins no overlap; room60x40mm at1:100; section height60mm at1:50;100mm bar per BA66 criterion | SYN-SHT67-VALID R01; exact Source/Output profiles and hashes required | Not executed
T67-04 | Annotations schedules legends keynote | D-SYN-01 tag and900/2100mm schedule count1; keynote/spec link current; no overrides;>=2.5mm fixture text | SYN-SHT67-VALID R01; exact Source/Output profiles and hashes required | Not executed
T67-05 | PDF DWG font and clean receiver | Same snapshot; actual fonts/glyphs/lineweights/hatches/units/xrefs persist; receiver clean open | SYN-SHT67-VALID R01; exact Source/Output profiles and hashes required | Not executed
T67-06 | Full sheet nine tiles and critical details | Record every sheet overview+tiles1..9+critical details at intended print size; BAD01..03 rejected independently | SYN-SHT67-VALID R01; exact Source/Output profiles and hashes required | Not executed

## Blank Tests
TestID | Input and fault | Method and expected result | Source and profile | Actual result | Operator and date | Input SHA-256 | Output SHA-256 | Evidence URI | Reviewer and disposition

## Acceptance
IssueID | Scope index and variants | Producer evidence | Independent discipline visual check | Authoriser purpose and date | Transmittal and recipient | Recipient exact variant decision | State
ISS-SYN-67 R01 | All4sheets;8expected variants; hashes pending | Not executed | Not executed | Not executed | Not issued; recipient pending | Not executed | Hold

## Blank Acceptance
IssueID | Scope index and variants | Producer evidence | Independent discipline visual check | Authoriser purpose and date | Transmittal and recipient | Recipient exact variant decision | State

## Sources
SourceID | Authority and revision | Path or URL | Use and limitation
SRC67-B | Office baseline | Manual4/7/8/9; BEP8.3/8.4; BA51/65/66 | One internal sheet grammar and separate external identity
SRC67-I | ISO7200:2004 | https://committee.iso.org/standard/35446.html?browse=ics | Field context; not licensed conformity
SRC67-D | DDA Circular400 and current service | https://dda.gov.ae/en/planning-development/design/final-design-approval | Current authority profile unresolved; historic circular differs; all primary refs in MD